## TOU Factors
[10 empty] | 6 | 0
SDG&E Shape Viewer | [6 empty] | Version 2.0
Peak kW factors are relative to Summer Peak kW reduction, unless Summer Peak kW reduction is zero. | [9 empty] | Smr On | Smr Ptl | Smr Off | Wtr On | Wtr Ptl | Wtr Off | Smr On | Smr Ptl | Smr Off | Wtr On | Wtr Ptl | Wtr Off
In that case, the TOU kW shape is relative to the Winter Partial Peak reduction. | [8 empty] | Load Shape in Use | 101% | 128% | 98.23% | 100% | 99.93% | 186.3% | 9.61% | 11.68% | 20.67% | 5.53% | 22.97% | 29.54%
[9 empty] | Hours in TOU Period | 742 | 954 | 1976 | 444 | 1924 | 2720
[9 empty] | kW per annual kWh | 0.00013085 | 0.00015666 | 0.00010275 | 0.00012455 | 0.00011931 | 0.00020229
TOU Energy Share | Peak kW Factors | [8 empty] | Calculator uses kW per annual kWh = TOU kW * TOU kWh Share / Hours in TOU period
[8 empty] | LOAD SHAPE | [14 empty] | Other Info, not used in Calculator
[9 empty] | Climate | Summer | Summer | Summer | Winter | Winter | Winter | Summer | Summer | Summer | Winter | Winter | Winter
[8 empty] | Enduse | Zone | On-Peak | Par-Peak | Off-Peak | Peak | Par-Peak | Off-Peak | On-Peak | Par-Peak | Off-Peak | Peak | Par-Peak | Off-Peak | CPUC
[8 empty] | Building_End_Use_Shape |  | (kW) | (kW) | (kW) | (kW) | (kW) | (kW) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | EU Mapping | DEER_ID | DEER_BLDG | DEER_BLDG_NAME | End_Use
[8 empty] | 01-ALC-AllCommercial-Cooling | All | 1.3527 | 1.9782 | 1.2611 | 1 | 1.1246 | 2.171 | 0.1785 | 0.1719 | 0.2273 | 0.0493 | 0.2221 | 0.1509 | HVAC | 01 | ALC | All Commercial | Cooling
[8 empty] | 01-ALC-AllCommercial-ExtLight | All | 1.0673 | 0.13057 | 1.6278 | 1 | 0.67635 | 1.0936 | 0.0144 | 0.0899 | 0.2838 | 0.0741 | 0.1037 | 0.4341 | Lighting | 01 | ALC | All Commercial | ExtLight
[8 empty] | 01-ALC-AllCommercial-IntLight | All | 1.0481 | 1.415 | 0.88764 | 1 | 0.80079 | 2.748 | 0.1402 | 0.1301 | 0.1499 | 0.0578 | 0.3068 | 0.2152 | Lighting | 01 | ALC | All Commercial | IntLight
[8 empty] | 01-ALC-AllCommercial-OffEquip | All | 1.0302 | 1.2299 | 0.97738 | 1 | 0.91339 | 1.5072 | 0.0958 | 0.1118 | 0.2119 | 0.044 | 0.2338 | 0.3027 | Other | 01 | ALC | All Commercial | OffEquip
[8 empty] | 01-ALC-AllCommercial-Refrig | All | 1.0258 | 1.0598 | 1.0183 | 1 | 0.87317 | 1.1191 | 0.0834 | 0.1002 | 0.2353 | 0.0486 | 0.1966 | 0.3361 | Refrigeration | 01 | ALC | All Commercial | Refrig
[8 empty] | 01-ALC-AllCommercial-Vent/Fan | All | 1.0103 | 1.2796 | 0.98228 | 1 | 0.99933 | 1.8627 | 0.0961 | 0.1168 | 0.2067 | 0.0553 | 0.2297 | 0.2954 | HVAC | 01 | ALC | All Commercial | Vent/Fan
[8 empty] | 02-ASM-Assembly-Cooling | All | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.32886 | 0.21842 | 0.12888 | 0.03134 | 0.23145 | 0.06105 | HVAC | 02 | ASM | Assembly | Cooling
[8 empty] | 02-ASM-Assembly-Exit | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.0847 | 0.1089 | 0.2256 | 0.0503 | 0.2182 | 0.3123 | Other | 02 | ASM | Assembly | Exit
[8 empty] | 02-ASM-Assembly-ExtLight | All | 0.27897 | 0.10255 | 1.5156 | 1 | 0.14615 | 1.0378 | 0.03608 | 0.10462 | 0.28139 | 0.08009 | 0.1118 | 0.386 | Lighting | 02 | ASM | Assembly | ExtLight
[8 empty] | 02-ASM-Assembly-IntLight | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.13198 | 0.16337 | 0.12614 | 0.07244 | 0.3327 | 0.17335 | Lighting | 02 | ASM | Assembly | IntLight
[8 empty] | 03-BCR-BothResidentialandCommercial-COOL | All | 1.4695 | 2.2243 | 1.4271 | 1 | 0.25428 | 1.418 | 0.21422 | 0.1529 | 0.1448 | 0.058322 | 0.28615 | 0.1437 | HVAC | 03 | BCR | Both Residential and Commercial | COOL
[8 empty] | 03-BCR-BothResidentialandCommercial-LIT_INT | All | 1.0503 | 1.3272 | 0.94082 | 1 | 1.0164 | 1.8005 | 0.134 | 0.1243 | 0.1574 | 0.06705 | 0.29345 | 0.2238 | Lighting | 03 | BCR | Both Residential and Commercial | LIT_INT
Peak kW Factors | Estimated Peak kW | [6 empty] | 03-BCR-BothResidentialandCommercial-OFF_EQ | All | 1.0598 | 1.2341 | 0.9821 | 1 | 1.0599 | 1.4642 | 0.1195 | 0.1193 | 0.1783 | 0.06021 | 0.27139 | 0.2513 | Other | 03 | BCR | Both Residential and Commercial | OFF_EQ
[8 empty] | 03-BCR-BothResidentialandCommercial-LIT_EXT | All | 0.27897 | 0.10255 | 1.5156 | 1 | 0.14615 | 1.0378 | 0.0331 | 0.1064 | 0.2797 | 0.0304 | 0.1626 | 0.3878 | Lighting | 03 | BCR | Both Residential and Commercial | LIT_EXT
| Annual kWh: | 5000 | (enter a value here) |  |  |  |  | 03-BCR-BothResidentialandCommercial-REFG | All | 1.0389 | 1.0606 | 1.0082 | 1 | 0.93851 | 1.141 | 0.0946 | 0.1119 | 0.2194 | 0.0526 | 0.2242 | 0.2973 | Refrigeration | 03 | BCR | Both Residential and Commercial | REFG
|  | Smr On | Smr Ptl | Smr Off | Wtr On | Wtr Ptl |  | 03-BCR-BothResidentialandCommercial-VENT | All | 1.0846 | 1.3283 | 1.1682 | 1 | 0.85045 | 1.9857 | 0.1377 | 0.1218 | 0.1532 | 0.0675 | 0.2954 | 0.2244 | HVAC | 03 | BCR | Both Residential and Commercial | VENT
| kW Reduction: | 0.65425 | 0.78331 | 0.51376 | 0.62275 | 0.59653 |  | 04-DMO-ResidentialMobileHome–DoubleWide-CL_DRY | All | 0.83405 | 1.0096 | 1.9572 | 1.0451 | 0.74392 | 1.6116 | 0.11749 | 0.12479 | 0.13714 | 0.05611 | 0.34157 | 0.22291 | Other | 04 | DMO | Residential Mobile Home – Double Wide | CL_DRY
[8 empty] | 04-DMO-ResidentialMobileHome–DoubleWide-CL_WASH | All | 0.89344 | 0.85952 | 1.8807 | 1.9968 | 0.73047 | 2.1085 | 0.11627 | 0.15539 | 0.14787 | 0.03113 | 0.36875 | 0.1806 | Other | 04 | DMO | Residential Mobile Home – Double Wide | CL_WASH
[8 empty] | 04-DMO-ResidentialMobileHome–DoubleWide-DSH_WASH | All | 2.1029 | 1.5488 | 1.0887 | 1.1092 | 1.5396 | 3.626 | 0.09059 | 0.15815 | 0.13503 | 0.10277 | 0.32086 | 0.19259 | Other | 04 | DMO | Residential Mobile Home – Double Wide | DSH_WASH
[8 empty] | 04-DMO-ResidentialMobileHome–DoubleWide-FREEZ | All | 0.96119 | 1.0765 | 1.1719 | 1.245 | 1.2576 | 1.216 | 0.10185 | 0.11692 | 0.23724 | 0.04705 | 0.20184 | 0.29511 | Refrigeration | 04 | DMO | Residential Mobile Home – Double Wide | FREEZ
[8 empty] | 04-DMO-ResidentialMobileHome–DoubleWide-LIGHT | All | 1.4012 | 1.1401 | 0.9085 | 0.62824 | 1.175 | 1.2364 | 0.07208 | 0.1139 | 0.19551 | 0.09619 | 0.22288 | 0.29944 | Lighting | 04 | DMO | Residential Mobile Home – Double Wide | LIGHT
[8 empty] | 04-DMO-ResidentialMobileHome–DoubleWide-POOL_PMP | All | 0.26041 | 0.37687 | 2.3803 | 1.8219 | 0.29793 | 0.79186 | 0.15555 | 0.1382 | 0.15286 | 0.0133 | 0.35256 | 0.18752 | Other | 04 | DMO | Residential Mobile Home – Double Wide | POOL_PMP
[8 empty] | 04-DMO-ResidentialMobileHome–DoubleWide-REFG | All | 1.0356 | 1.0961 | 1.1154 | 1.1733 | 1.2966 | 1.2769 | 0.09759 | 0.11855 | 0.24006 | 0.05154 | 0.20212 | 0.29015 | Refrigeration | 04 | DMO | Residential Mobile Home – Double Wide | REFG
[8 empty] | 04-DMO-ResidentialMobileHome–DoubleWide-SP_COOL | All | 2.9439 | 9.0849 | 16.6154 | 1 | 1 | 1 | 0.34704 | 0.21055 | 0.33241 | 0.03721 | 0.024807 | 0.047983 | HVAC | 04 | DMO | Residential Mobile Home – Double Wide | SP_COOL
[8 empty] | 04-DMO-ResidentialMobileHome–DoubleWide-SP_HEAT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0.075944 | 0.17597 | 0.74809 | HVAC | 04 | DMO | Residential Mobile Home – Double Wide | SP_HEAT
[8 empty] | 04-DMO-ResidentialMobileHome–DoubleWide-WAT_HEAT | All | 1.2889 | 0.95581 | 1.0782 | 0.86057 | 0.87246 | 1.1976 | 0.07419 | 0.12864 | 0.15374 | 0.06649 | 0.28421 | 0.29272 | Water Heating | 04 | DMO | Residential Mobile Home – Double Wide | WAT_HEAT
[8 empty] | 05-ECC-Education–CommunityCollege-COOL | All | 1.3612 | 1.8778 | 1.4921 | 1 | 0.1176 | 3.9395 | 0.22633 | 0.16696 | 0.096565 | 0.063909 | 0.3509 | 0.095335 | HVAC | 05 | ECC | Education – Community College | COOL
[8 empty] | 05-ECC-Education–CommunityCollege-LIT_INT | All | 1.0033 | 1.1764 | 0.79148 | 1 | 0.99987 | 2.487 | 0.1476 | 0.1275 | 0.1326 | 0.06712 | 0.32968 | 0.1954 | Lighting | 05 | ECC | Education – Community College | LIT_INT
[8 empty] | 05-ECC-Education–CommunityCollege-OFF_EQ | All | 0.86933 | 1.0194 | 1.0368 | 1 | 0.89238 | 1.7837 | 0.1237 | 0.1239 | 0.1681 | 0.05632 | 0.28838 | 0.2397 | Other | 05 | ECC | Education – Community College | OFF_EQ
[8 empty] | 05-ECC-Education–CommunityCollege-LIT_EXT | All | 0.07849 | 0.0315 | 1.4807 | 1 | 0.04846 | 1.2748 | 0.0334 | 0.1041 | 0.2817 | 0.0296 | 0.1605 | 0.3907 | Lighting | 05 | ECC | Education – Community College | LIT_EXT
[8 empty] | 05-ECC-Education–CommunityCollege-REFG | All | 1.0158 | 1.0413 | 0.98185 | 1 | 0.9266 | 1.0982 | 0.0915 | 0.1106 | 0.2192 | 0.0523 | 0.224 | 0.3023 | Refrigeration | 05 | ECC | Education – Community College | REFG
[8 empty] | 05-ECC-Education–CommunityCollege-VENT | All | 1.0438 | 1.2923 | 1.3104 | 1 | 0.91752 | 2.1133 | 0.143 | 0.1256 | 0.1333 | 0.06904 | 0.33736 | 0.1917 | HVAC | 05 | ECC | Education – Community College | VENT
[8 empty] | 06-EPR-Education–PrimarySchool-COOL | All | 1.392 | 2.5501 | 2.2399 | 1 | 0.00716 | 0.17507 | 0.3131 | 0.23541 | 0.049929 | 0.059233 | 0.31526 | 0.027071 | HVAC | 06 | EPR | Education – Primary School | COOL
[8 empty] | 06-EPR-Education–PrimarySchool-LIT_INT | All | 0.82056 | 1.2943 | 0.92243 | 1 | 1.4381 | 2.8874 | 0.1565 | 0.1432 | 0.0889 | 0.08288 | 0.38902 | 0.1395 | Lighting | 06 | EPR | Education – Primary School | LIT_INT
[8 empty] | 06-EPR-Education–PrimarySchool-OFF_EQ | All | 0.84047 | 1.1676 | 0.98519 | 1 | 1.2694 | 2.1603 | 0.1348 | 0.1271 | 0.1273 | 0.06952 | 0.34028 | 0.2009 | Other | 06 | EPR | Education – Primary School | OFF_EQ
[8 empty] | 06-EPR-Education–PrimarySchool-LIT_EXT | All | 0.07625 | 0.03022 | 1.4839 | 1 | 0.04239 | 1.27 | 0.0332 | 0.104 | 0.2818 | 0.0296 | 0.1604 | 0.3909 | Lighting | 06 | EPR | Education – Primary School | LIT_EXT
[8 empty] | 06-EPR-Education–PrimarySchool-REFG | All | 0.96467 | 1.0086 | 0.85001 | 1 | 1.1004 | 1.0084 | 0.0883 | 0.1061 | 0.2087 | 0.0543 | 0.2319 | 0.3106 | Refrigeration | 06 | EPR | Education – Primary School | REFG
[8 empty] | 06-EPR-Education–PrimarySchool-VENT | All | 0.84708 | 1.408 | 1.0304 | 1 | 1.2874 | 3.3558 | 0.1861 | 0.1512 | 0.0455 | 0.09776 | 0.44504 | 0.0745 | HVAC | 06 | EPR | Education – Primary School | VENT
[8 empty] | 07-ESE-Education–SecondarySchool-COOL | All | 1.392 | 2.5501 | 2.2399 | 1 | 0.00716 | 0.17507 | 0.3131 | 0.23541 | 0.049929 | 0.059233 | 0.31526 | 0.027071 | HVAC | 07 | ESE | Education – Secondary School | COOL
[8 empty] | 07-ESE-Education–SecondarySchool-LIT_INT | All | 0.82056 | 1.2943 | 0.92243 | 1 | 1.4381 | 2.8874 | 0.1565 | 0.1432 | 0.0889 | 0.08288 | 0.38902 | 0.1395 | Lighting | 07 | ESE | Education – Secondary School | LIT_INT
[8 empty] | 07-ESE-Education–SecondarySchool-OFF_EQ | All | 0.84047 | 1.1676 | 0.98519 | 1 | 1.2694 | 2.1603 | 0.1348 | 0.1271 | 0.1273 | 0.06952 | 0.34028 | 0.2009 | Other | 07 | ESE | Education – Secondary School | OFF_EQ
[8 empty] | 07-ESE-Education–SecondarySchool-LIT_EXT | All | 0.07625 | 0.03022 | 1.4839 | 1 | 0.04239 | 1.27 | 0.0332 | 0.104 | 0.2818 | 0.0296 | 0.1604 | 0.3909 | Lighting | 07 | ESE | Education – Secondary School | LIT_EXT
[8 empty] | 07-ESE-Education–SecondarySchool-REFG | All | 0.96467 | 1.0086 | 0.85001 | 1 | 1.1004 | 1.0084 | 0.0883 | 0.1061 | 0.2087 | 0.0543 | 0.2319 | 0.3106 | Refrigeration | 07 | ESE | Education – Secondary School | REFG
[8 empty] | 07-ESE-Education–SecondarySchool-VENT | All | 0.84708 | 1.408 | 1.0304 | 1 | 1.2874 | 3.3558 | 0.1861 | 0.1512 | 0.0455 | 0.09776 | 0.44504 | 0.0745 | HVAC | 07 | ESE | Education – Secondary School | VENT
[8 empty] | 08-EUN-Education–University-COOL | All | 1.3612 | 1.8778 | 1.4921 | 1 | 0.1176 | 3.9395 | 0.22633 | 0.16696 | 0.096565 | 0.063909 | 0.3509 | 0.095335 | HVAC | 08 | EUN | Education – University | COOL
[8 empty] | 08-EUN-Education–University-LIT_INT | All | 1.0033 | 1.1764 | 0.79148 | 1 | 0.99987 | 2.487 | 0.1476 | 0.1275 | 0.1326 | 0.06712 | 0.32968 | 0.1954 | Lighting | 08 | EUN | Education – University | LIT_INT
[8 empty] | 08-EUN-Education–University-OFF_EQ | All | 0.86933 | 1.0194 | 1.0368 | 1 | 0.89238 | 1.7837 | 0.1237 | 0.1239 | 0.1681 | 0.05632 | 0.28838 | 0.2397 | Other | 08 | EUN | Education – University | OFF_EQ
[8 empty] | 08-EUN-Education–University-LIT_EXT | All | 0.07849 | 0.0315 | 1.4807 | 1 | 0.04846 | 1.2748 | 0.0334 | 0.1041 | 0.2817 | 0.0296 | 0.1605 | 0.3907 | Lighting | 08 | EUN | Education – University | LIT_EXT
[8 empty] | 08-EUN-Education–University-REFG | All | 1.0158 | 1.0413 | 0.98185 | 1 | 0.9266 | 1.0982 | 0.0915 | 0.1106 | 0.2192 | 0.0523 | 0.224 | 0.3023 | Refrigeration | 08 | EUN | Education – University | REFG
[8 empty] | 08-EUN-Education–University-VENT | All | 1.0438 | 1.2923 | 1.3104 | 1 | 0.91752 | 2.1133 | 0.143 | 0.1256 | 0.1333 | 0.06904 | 0.33736 | 0.1917 | HVAC | 08 | EUN | Education – University | VENT
[8 empty] | 09-GRO-Grocery-COOL | All | 1.4407 | 1.584 | 2.0556 | 1 | 1.2388 | 0.78141 | 0.13831 | 0.13893 | 0.23879 | 0.048272 | 0.22059 | 0.21511 | HVAC | 09 | GRO | Grocery | COOL
[8 empty] | 09-GRO-Grocery-LIT_INT | All | 1.0175 | 1.0376 | 1.1438 | 1 | 0.96523 | 1.3757 | 0.1012 | 0.1172 | 0.1982 | 0.0594 | 0.2438 | 0.2801 | Lighting | 09 | GRO | Grocery | LIT_INT
[8 empty] | 09-GRO-Grocery-OFF_EQ | All | 1.0154 | 1.0658 | 1.0655 | 1 | 0.93885 | 1.3758 | 0.1012 | 0.1151 | 0.1981 | 0.0592 | 0.2438 | 0.2826 | Other | 09 | GRO | Grocery | OFF_EQ
[8 empty] | 09-GRO-Grocery-LIT_EXT | All | 0.08663 | 0.03395 | 1.4851 | 1 | 0.04713 | 1.2465 | 0.033 | 0.1042 | 0.2821 | 0.0295 | 0.1602 | 0.391 | Lighting | 09 | GRO | Grocery | LIT_EXT
[8 empty] | 09-GRO-Grocery-REFG | All | 1.0663 | 1.0605 | 1.031 | 1 | 0.96818 | 1.0981 | 0.0922 | 0.1113 | 0.2234 | 0.0512 | 0.2202 | 0.3017 | Refrigeration | 09 | GRO | Grocery | REFG
[8 empty] | 09-GRO-Grocery-VENT | All | 1.0213 | 1.0274 | 1.032 | 1 | 1.0855 | 1.0659 | 0.0892 | 0.1113 | 0.2219 | 0.0511 | 0.2203 | 0.3063 | HVAC | 09 | GRO | Grocery | VENT
[8 empty] | 10-HSP-Health/Medical–Hospital-COOL | All | 1.5373 | 1.7558 | 1.7078 | 1 | 1.1333 | 1.411 | 0.23211 | 0.16687 | 0.16785 | 0.050849 | 0.25166 | 0.13075 | HVAC | 10 | HSP | Health/Medical – Hospital | COOL
[8 empty] | 10-HSP-Health/Medical–Hospital-LIT_INT | All | 1.0616 | 1.2996 | 0.86309 | 1 | 1.0142 | 1.6561 | 0.1285 | 0.1247 | 0.1731 | 0.05528 | 0.28342 | 0.2349 | Lighting | 10 | HSP | Health/Medical – Hospital | LIT_INT
[8 empty] | 10-HSP-Health/Medical–Hospital-OFF_EQ | All | 1.076 | 1.228 | 0.90226 | 1 | 1.0459 | 1.3449 | 0.1142 | 0.1192 | 0.1925 | 0.04976 | 0.26314 | 0.2613 | Other | 10 | HSP | Health/Medical – Hospital | OFF_EQ
[8 empty] | 10-HSP-Health/Medical–Hospital-LIT_EXT | All | 0.11079 | 0.03174 | 1.5785 | 1 | 0.05172 | 1.3415 | 0.0352 | 0.1064 | 0.2775 | 0.0312 | 0.1647 | 0.385 | Lighting | 10 | HSP | Health/Medical – Hospital | LIT_EXT
[8 empty] | 10-HSP-Health/Medical–Hospital-REFG | All | 1.0456 | 1.0762 | 1.0352 | 1 | 0.92833 | 1.1593 | 0.0962 | 0.1133 | 0.2199 | 0.0527 | 0.224 | 0.2938 | Refrigeration | 10 | HSP | Health/Medical – Hospital | REFG
[8 empty] | 10-HSP-Health/Medical–Hospital-VENT | All | 1.1253 | 1.3828 | 0.95871 | 1 | 1.1525 | 1.5719 | 0.131 | 0.1207 | 0.17 | 0.05568 | 0.28582 | 0.2369 | HVAC | 10 | HSP | Health/Medical – Hospital | VENT
[8 empty] | 11-HTL-Lodging–Hotel(GuestRooms)-COOL | All | 2.1811 | 3.0258 | 2.2377 | 1 | 0.07231 | 0.29752 | 0.18548 | 0.16047 | 0.2646 | 0.040337 | 0.18462 | 0.1645 | HVAC | 11 | HTL | Lodging – Hotel (Guest Rooms) | COOL
[8 empty] | 11-HTL-Lodging–Hotel(GuestRooms)-LIT_INT | All | 1.045 | 1.0215 | 1.1164 | 1 | 0.97822 | 1.0572 | 0.0889 | 0.1131 | 0.228 | 0.05 | 0.2163 | 0.3036 | Lighting | 11 | HTL | Lodging – Hotel (Guest Rooms) | LIT_INT
[8 empty] | 11-HTL-Lodging–Hotel(GuestRooms)-OFF_EQ | All | 1.0461 | 1.0897 | 0.99141 | 1 | 1.0059 | 1.047 | 0.0917 | 0.1126 | 0.2236 | 0.0514 | 0.2204 | 0.3003 | Other | 11 | HTL | Lodging – Hotel (Guest Rooms) | OFF_EQ
[8 empty] | 11-HTL-Lodging–Hotel(GuestRooms)-LIT_EXT | All | 0.11831 | 0.04789 | 1.4892 | 1 | 0.06856 | 1.259 | 0.034 | 0.1044 | 0.2804 | 0.0301 | 0.1618 | 0.3894 | Lighting | 11 | HTL | Lodging – Hotel (Guest Rooms) | LIT_EXT
[8 empty] | 11-HTL-Lodging–Hotel(GuestRooms)-REFG | All | 1.0302 | 1.0406 | 1.0517 | 1 | 0.92959 | 1.1193 | 0.0925 | 0.1127 | 0.2185 | 0.0528 | 0.2247 | 0.2988 | Refrigeration | 11 | HTL | Lodging – Hotel (Guest Rooms) | REFG
[8 empty] | 11-HTL-Lodging–Hotel(GuestRooms)-VENT | All | 1.0429 | 1.0426 | 1.0392 | 1 | 1.1109 | 1.0252 | 0.085 | 0.1088 | 0.2236 | 0.0498 | 0.2176 | 0.3151 | HVAC | 11 | HTL | Lodging – Hotel (Guest Rooms) | VENT
[8 empty] | 12-MBT-Manufacturing–Bio/Tech-AG_PUMP | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1297 | 0.1656 | 0.3173 | 0.02992 | 0.20138 | 0.1562 | Other | 12 | MBT | Manufacturing – Bio/Tech | AG_PUMP
[8 empty] | 12-MBT-Manufacturing–Bio/Tech-COMP_AIR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 12 | MBT | Manufacturing – Bio/Tech | COMP_AIR
[8 empty] | 12-MBT-Manufacturing–Bio/Tech-COOL | All | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.2408 | 0.2115 | 0.3174 | 0.01988 | 0.09762 | 0.1127 | HVAC | 12 | MBT | Manufacturing – Bio/Tech | COOL
[8 empty] | 12-MBT-Manufacturing–Bio/Tech-LIGHT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1491 | 0.1271 | 0.1723 | 0.0572 | 0.2206 | 0.2738 | Lighting | 12 | MBT | Manufacturing – Bio/Tech | LIGHT
[8 empty] | 12-MBT-Manufacturing–Bio/Tech-MOTOR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 12 | MBT | Manufacturing – Bio/Tech | MOTOR
[8 empty] | 12-MBT-Manufacturing–Bio/Tech-PROC_OTH | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 12 | MBT | Manufacturing – Bio/Tech | PROC_OTH
[8 empty] | 13-MFM-ResidentialMulti-family-CL_DRY | All | 0.83405 | 1.0096 | 1.9572 | 1.0451 | 0.74392 | 1.6116 | 0.11749 | 0.12479 | 0.13714 | 0.05611 | 0.34157 | 0.22291 | Other | 13 | MFM | Residential Multi-family | CL_DRY
[8 empty] | 13-MFM-ResidentialMulti-family-CL_WASH | All | 0.89344 | 0.85952 | 1.8807 | 1.9968 | 0.73047 | 2.1085 | 0.11627 | 0.15539 | 0.14787 | 0.03113 | 0.36875 | 0.1806 | Other | 13 | MFM | Residential Multi-family | CL_WASH
[8 empty] | 13-MFM-ResidentialMulti-family-DSH_WASH | All | 2.1029 | 1.5488 | 1.0887 | 1.1092 | 1.5396 | 3.626 | 0.09059 | 0.15815 | 0.13503 | 0.10277 | 0.32086 | 0.19259 | Other | 13 | MFM | Residential Multi-family | DSH_WASH
[8 empty] | 13-MFM-ResidentialMulti-family-FREEZ | All | 0.96119 | 1.0765 | 1.1719 | 1.245 | 1.2576 | 1.216 | 0.10185 | 0.11692 | 0.23724 | 0.04705 | 0.20184 | 0.29511 | Refrigeration | 13 | MFM | Residential Multi-family | FREEZ
[8 empty] | 13-MFM-ResidentialMulti-family-LIGHT | All | 1.4012 | 1.1401 | 0.9085 | 0.62824 | 1.175 | 1.2364 | 0.07208 | 0.1139 | 0.19551 | 0.09619 | 0.22288 | 0.29944 | Lighting | 13 | MFM | Residential Multi-family | LIGHT
[8 empty] | 13-MFM-ResidentialMulti-family-POOL_PMP | All | 0.26041 | 0.37687 | 2.3803 | 1.8219 | 0.29793 | 0.79186 | 0.15555 | 0.1382 | 0.15286 | 0.0133 | 0.35256 | 0.18752 | Other | 13 | MFM | Residential Multi-family | POOL_PMP
[8 empty] | 13-MFM-ResidentialMulti-family-REFG | All | 1.0356 | 1.0961 | 1.1154 | 1.1733 | 1.2966 | 1.2769 | 0.09759 | 0.11855 | 0.24006 | 0.05154 | 0.20212 | 0.29015 | Refrigeration | 13 | MFM | Residential Multi-family | REFG
[8 empty] | 13-MFM-ResidentialMulti-family-SP_COOL | All | 2.9439 | 9.0849 | 16.6154 | 1 | 1 | 1 | 0.34704 | 0.21055 | 0.33241 | 0.03721 | 0.024807 | 0.047983 | HVAC | 13 | MFM | Residential Multi-family | SP_COOL
[8 empty] | 13-MFM-ResidentialMulti-family-SP_HEAT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0.075944 | 0.17597 | 0.74809 | HVAC | 13 | MFM | Residential Multi-family | SP_HEAT
[8 empty] | 13-MFM-ResidentialMulti-family-WAT_HEAT | All | 1.2889 | 0.95581 | 1.0782 | 0.86057 | 0.87246 | 1.1976 | 0.07419 | 0.12864 | 0.15374 | 0.06649 | 0.28421 | 0.29272 | Water Heating | 13 | MFM | Residential Multi-family | WAT_HEAT
[8 empty] | 14-MLI-Manufacturing–LightIndustry-AG_PUMP | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1297 | 0.1656 | 0.3173 | 0.02992 | 0.20138 | 0.1562 | Other | 14 | MLI | Manufacturing – Light Industry | AG_PUMP
[8 empty] | 14-MLI-Manufacturing–LightIndustry-COMP_AIR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 14 | MLI | Manufacturing – Light Industry | COMP_AIR
[8 empty] | 14-MLI-Manufacturing–LightIndustry-COOL | All | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.2408 | 0.2115 | 0.3174 | 0.01988 | 0.09762 | 0.1127 | HVAC | 14 | MLI | Manufacturing – Light Industry | COOL
[8 empty] | 14-MLI-Manufacturing–LightIndustry-LIGHT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1491 | 0.1271 | 0.1723 | 0.0572 | 0.2206 | 0.2738 | Lighting | 14 | MLI | Manufacturing – Light Industry | LIGHT
[8 empty] | 14-MLI-Manufacturing–LightIndustry-MOTOR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 14 | MLI | Manufacturing – Light Industry | MOTOR
[8 empty] | 14-MLI-Manufacturing–LightIndustry-PROC_OTH | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 14 | MLI | Manufacturing – Light Industry | PROC_OTH
[8 empty] | 15-MTL-Lodging–Motel-COOL | All | 2.1811 | 3.0258 | 2.2377 | 1 | 0.07231 | 0.29752 | 0.18548 | 0.16047 | 0.2646 | 0.040337 | 0.18462 | 0.1645 | HVAC | 15 | MTL | Lodging – Motel | COOL
[8 empty] | 15-MTL-Lodging–Motel-LIT_INT | All | 1.045 | 1.0215 | 1.1164 | 1 | 0.97822 | 1.0572 | 0.0889 | 0.1131 | 0.228 | 0.05 | 0.2163 | 0.3036 | Lighting | 15 | MTL | Lodging – Motel | LIT_INT
[8 empty] | 15-MTL-Lodging–Motel-OFF_EQ | All | 1.0461 | 1.0897 | 0.99141 | 1 | 1.0059 | 1.047 | 0.0917 | 0.1126 | 0.2236 | 0.0514 | 0.2204 | 0.3003 | Other | 15 | MTL | Lodging – Motel | OFF_EQ
[8 empty] | 15-MTL-Lodging–Motel-LIT_EXT | All | 0.11831 | 0.04789 | 1.4892 | 1 | 0.06856 | 1.259 | 0.034 | 0.1044 | 0.2804 | 0.0301 | 0.1618 | 0.3894 | Lighting | 15 | MTL | Lodging – Motel | LIT_EXT
[8 empty] | 15-MTL-Lodging–Motel-REFG | All | 1.0302 | 1.0406 | 1.0517 | 1 | 0.92959 | 1.1193 | 0.0925 | 0.1127 | 0.2185 | 0.0528 | 0.2247 | 0.2988 | Refrigeration | 15 | MTL | Lodging – Motel | REFG
[8 empty] | 15-MTL-Lodging–Motel-VENT | All | 1.0429 | 1.0426 | 1.0392 | 1 | 1.1109 | 1.0252 | 0.085 | 0.1088 | 0.2236 | 0.0498 | 0.2176 | 0.3151 | HVAC | 15 | MTL | Lodging – Motel | VENT
[8 empty] | 16-NRS-Health/Medical–Clinic-COOL | All | 1.4695 | 2.2243 | 1.4271 | 1 | 0.25428 | 1.418 | 0.21422 | 0.1529 | 0.1448 | 0.058322 | 0.28615 | 0.1437 | HVAC | 16 | NRS | Health/Medical – Clinic | COOL
[8 empty] | 16-NRS-Health/Medical–Clinic-LIT_INT | All | 1.0503 | 1.3272 | 0.94082 | 1 | 1.0164 | 1.8005 | 0.134 | 0.1243 | 0.1574 | 0.06705 | 0.29345 | 0.2238 | Lighting | 16 | NRS | Health/Medical – Clinic | LIT_INT
[8 empty] | 16-NRS-Health/Medical–Clinic-OFF_EQ | All | 1.0598 | 1.2341 | 0.9821 | 1 | 1.0599 | 1.4642 | 0.1195 | 0.1193 | 0.1783 | 0.06021 | 0.27139 | 0.2513 | Other | 16 | NRS | Health/Medical – Clinic | OFF_EQ
[8 empty] | 16-NRS-Health/Medical–Clinic-LIT_EXT | All | 0.27897 | 0.10255 | 1.5156 | 1 | 0.14615 | 1.0378 | 0.0331 | 0.1064 | 0.2797 | 0.0304 | 0.1626 | 0.3878 | Lighting | 16 | NRS | Health/Medical – Clinic | LIT_EXT
[8 empty] | 16-NRS-Health/Medical–Clinic-REFG | All | 1.0389 | 1.0606 | 1.0082 | 1 | 0.93851 | 1.141 | 0.0946 | 0.1119 | 0.2194 | 0.0526 | 0.2242 | 0.2973 | Refrigeration | 16 | NRS | Health/Medical – Clinic | REFG
[8 empty] | 16-NRS-Health/Medical–Clinic-VENT | All | 1.0846 | 1.3283 | 1.1682 | 1 | 0.85045 | 1.9857 | 0.1377 | 0.1218 | 0.1532 | 0.0675 | 0.2954 | 0.2244 | HVAC | 16 | NRS | Health/Medical – Clinic | VENT
[8 empty] | 17-OFL-Office–Large-Cooling | All | 1.3527 | 1.9782 | 1.2611 | 1 | 1.1246 | 2.171 | 0.1785 | 0.1719 | 0.2273 | 0.0493 | 0.2221 | 0.1509 | HVAC | 17 | OFL | Office – Large | Cooling
[8 empty] | 17-OFL-Office–Large-ExtLight | All | 1.0673 | 0.13057 | 1.6278 | 1 | 0.67635 | 1.0936 | 0.0144 | 0.0899 | 0.2838 | 0.0741 | 0.1037 | 0.4341 | Lighting | 17 | OFL | Office – Large | ExtLight
[8 empty] | 17-OFL-Office–Large-IntLight | All | 1.0481 | 1.415 | 0.88764 | 1 | 0.80079 | 2.748 | 0.1402 | 0.1301 | 0.1499 | 0.0578 | 0.3068 | 0.2152 | Lighting | 17 | OFL | Office – Large | IntLight
[8 empty] | 17-OFL-Office–Large-OffEquip | All | 1.0302 | 1.2299 | 0.97738 | 1 | 0.91339 | 1.5072 | 0.0958 | 0.1118 | 0.2119 | 0.044 | 0.2338 | 0.3027 | Other | 17 | OFL | Office – Large | OffEquip
[8 empty] | 17-OFL-Office–Large-Refrig | All | 1.0258 | 1.0598 | 1.0183 | 1 | 0.87317 | 1.1191 | 0.0834 | 0.1002 | 0.2353 | 0.0486 | 0.1966 | 0.3361 | Refrigeration | 17 | OFL | Office – Large | Refrig
[8 empty] | 17-OFL-Office–Large-Vent/Fan | All | 1.0103 | 1.2796 | 0.98228 | 1 | 0.99933 | 1.8627 | 0.0961 | 0.1168 | 0.2067 | 0.0553 | 0.2297 | 0.2954 | HVAC | 17 | OFL | Office – Large | Vent/Fan
[8 empty] | 18-OFS-Office–Small-Cooling | All | 1.3527 | 1.9782 | 1.2611 | 1 | 1.1246 | 2.171 | 0.2126 | 0.1791 | 0.1384 | 0.0379 | 0.3047 | 0.1273 | HVAC | 18 | OFS | Office – Small | Cooling
[8 empty] | 18-OFS-Office–Small-ExtLight | All | 1.0673 | 0.13057 | 1.6278 | 1 | 0.67635 | 1.0936 | 0.0118 | 0.0868 | 0.2626 | 0.0842 | 0.1062 | 0.4485 | Lighting | 18 | OFS | Office – Small | ExtLight
[8 empty] | 18-OFS-Office–Small-IntLight | All | 1.0481 | 1.415 | 0.88764 | 1 | 0.80079 | 2.748 | 0.1369 | 0.1257 | 0.1575 | 0.0666 | 0.2905 | 0.2227 | Lighting | 18 | OFS | Office – Small | IntLight
[8 empty] | 18-OFS-Office–Small-OffEquip | All | 1.0302 | 1.2299 | 0.97738 | 1 | 0.91339 | 1.5072 | 0.0919 | 0.1066 | 0.2209 | 0.0503 | 0.2195 | 0.3109 | Other | 18 | OFS | Office – Small | OffEquip
[8 empty] | 18-OFS-Office–Small-Refrig | All | 1.0258 | 1.0598 | 1.0183 | 1 | 0.87317 | 1.1191 | 0.0781 | 0.0979 | 0.2427 | 0.0548 | 0.1846 | 0.3419 | Refrigeration | 18 | OFS | Office – Small | Refrig
[8 empty] | 18-OFS-Office–Small-Vent/Fan | All | 1.0103 | 1.2796 | 0.98228 | 1 | 0.99933 | 1.8627 | 0.1522 | 0.0904 | 0.1766 | 0.0599 | 0.2328 | 0.2882 | HVAC | 18 | OFS | Office – Small | Vent/Fan
[8 empty] | 19-RES-AllResidential-CL_DRY | All | 0.83405 | 1.0096 | 1.9572 | 1.0451 | 0.74392 | 1.6116 | 0.11749 | 0.12479 | 0.13714 | 0.05611 | 0.34157 | 0.22291 | Other | 19 | RES | All Residential | CL_DRY
[8 empty] | 19-RES-AllResidential-CL_WASH | All | 0.89344 | 0.85952 | 1.8807 | 1.9968 | 0.73047 | 2.1085 | 0.11627 | 0.15539 | 0.14787 | 0.03113 | 0.36875 | 0.1806 | Other | 19 | RES | All Residential | CL_WASH
[8 empty] | 19-RES-AllResidential-DSH_WASH | All | 2.1029 | 1.5488 | 1.0887 | 1.1092 | 1.5396 | 3.626 | 0.09059 | 0.15815 | 0.13503 | 0.10277 | 0.32086 | 0.19259 | Other | 19 | RES | All Residential | DSH_WASH
[8 empty] | 19-RES-AllResidential-FREEZ | All | 0.96119 | 1.0765 | 1.1719 | 1.245 | 1.2576 | 1.216 | 0.10185 | 0.11692 | 0.23724 | 0.04705 | 0.20184 | 0.29511 | Refrigeration | 19 | RES | All Residential | FREEZ
[8 empty] | 19-RES-AllResidential-LIGHT | All | 1.4012 | 1.1401 | 0.9085 | 0.62824 | 1.175 | 1.2364 | 0.07208 | 0.1139 | 0.19551 | 0.09619 | 0.22288 | 0.29944 | Lighting | 19 | RES | All Residential | LIGHT
[8 empty] | 19-RES-AllResidential-POOL_PMP | All | 0.26041 | 0.37687 | 2.3803 | 1.8219 | 0.29793 | 0.79186 | 0.15555 | 0.1382 | 0.15286 | 0.0133 | 0.35256 | 0.18752 | Other | 19 | RES | All Residential | POOL_PMP
[8 empty] | 19-RES-AllResidential-REFG | All | 1.0356 | 1.0961 | 1.1154 | 1.1733 | 1.2966 | 1.2769 | 0.09759 | 0.11855 | 0.24006 | 0.05154 | 0.20212 | 0.29015 | Refrigeration | 19 | RES | All Residential | REFG
[8 empty] | 19-RES-AllResidential-SP_COOL | All | 2.9439 | 9.0849 | 16.6154 | 1 | 1 | 1 | 0.34704 | 0.21055 | 0.33241 | 0.03721 | 0.024807 | 0.047983 | HVAC | 19 | RES | All Residential | SP_COOL
[8 empty] | 19-RES-AllResidential-SP_HEAT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0.075944 | 0.17597 | 0.74809 | HVAC | 19 | RES | All Residential | SP_HEAT
[8 empty] | 19-RES-AllResidential-WAT_HEAT | All | 1.2889 | 0.95581 | 1.0782 | 0.86057 | 0.87246 | 1.1976 | 0.07419 | 0.12864 | 0.15374 | 0.06649 | 0.28421 | 0.29272 | Water Heating | 19 | RES | All Residential | WAT_HEAT
[8 empty] | 20-RFF-Restaurant–FastFood-Cooling | All | 1.1646 | 1.3934 | 1.5422 | 1 | 1.196 | 0.70362 | 0.2561 | 0.2116 | 0.356 | 0.024 | 0.0848 | 0.0675 | HVAC | 20 | RFF | Restaurant – Fast Food | Cooling
[8 empty] | 20-RFF-Restaurant–FastFood-ExtLight | All | 0.15139 | 0.03916 | 1.5523 | 1 | 0.05887 | 1.2817 | 0.0111 | 0.0869 | 0.3315 | 0.0507 | 0.102 | 0.4179 | Lighting | 20 | RFF | Restaurant – Fast Food | ExtLight
[8 empty] | 20-RFF-Restaurant–FastFood-IntLight | All | 1.0318 | 1.1573 | 1.3548 | 1 | 0.80587 | 1.5645 | 0.1089 | 0.1261 | 0.1834 | 0.0635 | 0.2559 | 0.2623 | Lighting | 20 | RFF | Restaurant – Fast Food | IntLight
[8 empty] | 20-RFF-Restaurant–FastFood-OffEquip | All | 1.0652 | 1.131 | 1.5008 | 1 | 0.62101 | 1.8654 | 0.1245 | 0.1299 | 0.1646 | 0.0749 | 0.2719 | 0.2342 | Other | 20 | RFF | Restaurant – Fast Food | OffEquip
[8 empty] | 20-RFF-Restaurant–FastFood-Refrig | All | 1.068 | 1.1033 | 1.0277 | 1 | 0.92831 | 1.087 | 0.1044 | 0.1023 | 0.2122 | 0.056 | 0.223 | 0.3021 | Refrigeration | 20 | RFF | Restaurant – Fast Food | Refrig
[8 empty] | 20-RFF-Restaurant–FastFood-Vent/Fan | All | 1.0533 | 1.2419 | 1.9258 | 1 | 0.42233 | 2.3993 | 0.1014 | 0.1136 | 0.2037 | 0.0594 | 0.232 | 0.2898 | HVAC | 20 | RFF | Restaurant – Fast Food | Vent/Fan
[8 empty] | 21-RSD-Restaurant–SitDown-COOL | All | 1.1646 | 1.3934 | 1.5422 | 1 | 1.196 | 0.70362 | 0.21191 | 0.1521 | 0.17933 | 0.063976 | 0.24301 | 0.14957 | HVAC | 21 | RSD | Restaurant – Sit Down | COOL
[8 empty] | 21-RSD-Restaurant–SitDown-LIT_INT | All | 1.0318 | 1.1573 | 1.3548 | 1 | 0.80587 | 1.5645 | 0.1145 | 0.1214 | 0.1866 | 0.0704 | 0.2495 | 0.2575 | Lighting | 21 | RSD | Restaurant – Sit Down | LIT_INT
[8 empty] | 21-RSD-Restaurant–SitDown-OFF_EQ | All | 1.0652 | 1.131 | 1.5008 | 1 | 0.62101 | 1.8654 | 0.1244 | 0.1245 | 0.1788 | 0.07359 | 0.25651 | 0.2421 | Other | 21 | RSD | Restaurant – Sit Down | OFF_EQ
[8 empty] | 21-RSD-Restaurant–SitDown-LIT_EXT | All | 0.15139 | 0.03916 | 1.5523 | 1 | 0.05887 | 1.2817 | 0.0346 | 0.1056 | 0.2788 | 0.0307 | 0.1633 | 0.3869 | Lighting | 21 | RSD | Restaurant – Sit Down | LIT_EXT
[8 empty] | 21-RSD-Restaurant–SitDown-PROC_OTH | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 21 | RSD | Restaurant – Sit Down | PROC_OTH
[8 empty] | 21-RSD-Restaurant–SitDown-REFG | All | 1.068 | 1.1033 | 1.0277 | 1 | 0.92831 | 1.087 | 0.0943 | 0.1122 | 0.2228 | 0.0517 | 0.2214 | 0.2975 | Refrigeration | 21 | RSD | Restaurant – Sit Down | REFG
[8 empty] | 21-RSD-Restaurant–SitDown-VENT | All | 1.0533 | 1.2419 | 1.9258 | 1 | 0.42233 | 2.3993 | 0.1404 | 0.1242 | 0.1563 | 0.08173 | 0.27767 | 0.2197 | HVAC | 21 | RSD | Restaurant – Sit Down | VENT
[8 empty] | 22-RT3-Retail–3StoryLarge-COOL | All | 1.201 | 1.4635 | 1.4748 | 1 | 1.2226 | 0.85362 | 0.2403 | 0.16679 | 0.14845 | 0.06219 | 0.26272 | 0.11965 | HVAC | 22 | RT3 | Retail – 3 Story Large | COOL
[8 empty] | 22-RT3-Retail–3StoryLarge-LIT_INT | All | 1.0236 | 1.1668 | 1.16 | 1 | 0.76469 | 2.2711 | 0.1342 | 0.1276 | 0.1538 | 0.0757 | 0.2889 | 0.2199 | Lighting | 22 | RT3 | Retail – 3 Story Large | LIT_INT
[8 empty] | 22-RT3-Retail–3StoryLarge-OFF_EQ | All | 1.0255 | 1.1849 | 1.012 | 1 | 0.83867 | 1.9039 | 0.1247 | 0.122 | 0.1674 | 0.0707 | 0.2754 | 0.2397 | Other | 22 | RT3 | Retail – 3 Story Large | OFF_EQ
[8 empty] | 22-RT3-Retail–3StoryLarge-LIT_EXT | All | 0.24996 | 0.0892 | 1.5183 | 1 | 0.12041 | 1.0802 | 0.0333 | 0.1062 | 0.2797 | 0.0304 | 0.1625 | 0.388 | Lighting | 22 | RT3 | Retail – 3 Story Large | LIT_EXT
[8 empty] | 22-RT3-Retail–3StoryLarge-REFG | All | 1.0682 | 1.0782 | 1.0294 | 1 | 0.94891 | 1.1139 | 0.0939 | 0.1121 | 0.2242 | 0.0512 | 0.2198 | 0.2988 | Refrigeration | 22 | RT3 | Retail – 3 Story Large | REFG
[8 empty] | 22-RT3-Retail–3StoryLarge-VENT | All | 1.0488 | 1.2671 | 1.4261 | 1 | 0.48312 | 2.9269 | 0.1545 | 0.1336 | 0.1355 | 0.0819 | 0.3052 | 0.1894 | HVAC | 22 | RT3 | Retail – 3 Story Large | VENT
[8 empty] | 23-RTL-Retail–SingleStorylarge-COOL | All | 1.201 | 1.4635 | 1.4748 | 1 | 1.2226 | 0.85362 | 0.2403 | 0.16679 | 0.14845 | 0.06219 | 0.26272 | 0.11965 | HVAC | 23 | RTL | Retail – Single Story large | COOL
[8 empty] | 23-RTL-Retail–SingleStorylarge-LIT_INT | All | 1.0236 | 1.1668 | 1.16 | 1 | 0.76469 | 2.2711 | 0.1342 | 0.1276 | 0.1538 | 0.0757 | 0.2889 | 0.2199 | Lighting | 23 | RTL | Retail – Single Story large | LIT_INT
[8 empty] | 23-RTL-Retail–SingleStorylarge-OFF_EQ | All | 1.0255 | 1.1849 | 1.012 | 1 | 0.83867 | 1.9039 | 0.1247 | 0.122 | 0.1674 | 0.0707 | 0.2754 | 0.2397 | Other | 23 | RTL | Retail – Single Story large | OFF_EQ
[8 empty] | 23-RTL-Retail–SingleStorylarge-LIT_EXT | All | 0.24996 | 0.0892 | 1.5183 | 1 | 0.12041 | 1.0802 | 0.0333 | 0.1062 | 0.2797 | 0.0304 | 0.1625 | 0.388 | Lighting | 23 | RTL | Retail – Single Story large | LIT_EXT
[8 empty] | 23-RTL-Retail–SingleStorylarge-REFG | All | 1.0682 | 1.0782 | 1.0294 | 1 | 0.94891 | 1.1139 | 0.0939 | 0.1121 | 0.2242 | 0.0512 | 0.2198 | 0.2988 | Refrigeration | 23 | RTL | Retail – Single Story large | REFG
[8 empty] | 23-RTL-Retail–SingleStorylarge-VENT | All | 1.0488 | 1.2671 | 1.4261 | 1 | 0.48312 | 2.9269 | 0.1545 | 0.1336 | 0.1355 | 0.0819 | 0.3052 | 0.1894 | HVAC | 23 | RTL | Retail – Single Story large | VENT
[8 empty] | 24-RTS-Retail–Small-COOL | All | 1.201 | 1.4635 | 1.4748 | 1 | 1.2226 | 0.85362 | 0.2403 | 0.16679 | 0.14845 | 0.06219 | 0.26272 | 0.11965 | HVAC | 24 | RTS | Retail – Small | COOL
[8 empty] | 24-RTS-Retail–Small-LIT_INT | All | 1.0236 | 1.1668 | 1.16 | 1 | 0.76469 | 2.2711 | 0.1342 | 0.1276 | 0.1538 | 0.0757 | 0.2889 | 0.2199 | Lighting | 24 | RTS | Retail – Small | LIT_INT
[8 empty] | 24-RTS-Retail–Small-OFF_EQ | All | 1.0255 | 1.1849 | 1.012 | 1 | 0.83867 | 1.9039 | 0.1247 | 0.122 | 0.1674 | 0.0707 | 0.2754 | 0.2397 | Other | 24 | RTS | Retail – Small | OFF_EQ
[8 empty] | 24-RTS-Retail–Small-LIT_EXT | All | 0.24996 | 0.0892 | 1.5183 | 1 | 0.12041 | 1.0802 | 0.0333 | 0.1062 | 0.2797 | 0.0304 | 0.1625 | 0.388 | Lighting | 24 | RTS | Retail – Small | LIT_EXT
[8 empty] | 24-RTS-Retail–Small-REFG | All | 1.0682 | 1.0782 | 1.0294 | 1 | 0.94891 | 1.1139 | 0.0939 | 0.1121 | 0.2242 | 0.0512 | 0.2198 | 0.2988 | Refrigeration | 24 | RTS | Retail – Small | REFG
[8 empty] | 24-RTS-Retail–Small-VENT | All | 1.0488 | 1.2671 | 1.4261 | 1 | 0.48312 | 2.9269 | 0.1545 | 0.1336 | 0.1355 | 0.0819 | 0.3052 | 0.1894 | HVAC | 24 | RTS | Retail – Small | VENT
[8 empty] | 25-SCN-Storage–Conditioned-Cooling | All | 1.4695 | 2.2243 | 1.4271 | 1 | 0.25428 | 1.418 | 0.11857 | 0.13512 | 0.15078 | 0.05919 | 0.32225 | 0.21409 | HVAC | 25 | SCN | Storage – Conditioned | Cooling
[8 empty] | 25-SCN-Storage–Conditioned-Exit | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.0847 | 0.1089 | 0.2256 | 0.0503 | 0.2182 | 0.3123 | Lighting | 25 | SCN | Storage – Conditioned | Exit
[8 empty] | 25-SCN-Storage–Conditioned-ExtLight | All | 0.27897 | 0.10255 | 1.5156 | 1 | 0.14615 | 1.0378 | 0.09515 | 0.12071 | 0.20377 | 0.05501 | 0.2362 | 0.28918 | Lighting | 25 | SCN | Storage – Conditioned | ExtLight
[8 empty] | 26-SFM-ResidentialSingleFamily-CL_DRY | All | 0.83405 | 1.0096 | 1.9572 | 1.0451 | 0.74392 | 1.6116 | 0.11749 | 0.12479 | 0.13714 | 0.05611 | 0.34157 | 0.22291 | Other | 26 | SFM | Residential Single Family | CL_DRY
[8 empty] | 26-SFM-ResidentialSingleFamily-CL_WASH | All | 0.89344 | 0.85952 | 1.8807 | 1.9968 | 0.73047 | 2.1085 | 0.11627 | 0.15539 | 0.14787 | 0.03113 | 0.36875 | 0.1806 | Other | 26 | SFM | Residential Single Family | CL_WASH
[8 empty] | 26-SFM-ResidentialSingleFamily-DSH_WASH | All | 2.1029 | 1.5488 | 1.0887 | 1.1092 | 1.5396 | 3.626 | 0.09059 | 0.15815 | 0.13503 | 0.10277 | 0.32086 | 0.19259 | Other | 26 | SFM | Residential Single Family | DSH_WASH
[8 empty] | 26-SFM-ResidentialSingleFamily-FREEZ | All | 0.96119 | 1.0765 | 1.1719 | 1.245 | 1.2576 | 1.216 | 0.10185 | 0.11692 | 0.23724 | 0.04705 | 0.20184 | 0.29511 | Refrigeration | 26 | SFM | Residential Single Family | FREEZ
[8 empty] | 26-SFM-ResidentialSingleFamily-LIGHT | All | 1.4012 | 1.1401 | 0.9085 | 0.62824 | 1.175 | 1.2364 | 0.07208 | 0.1139 | 0.19551 | 0.09619 | 0.22288 | 0.29944 | Lighting | 26 | SFM | Residential Single Family | LIGHT
[8 empty] | 26-SFM-ResidentialSingleFamily-POOL_PMP | All | 0.26041 | 0.37687 | 2.3803 | 1.8219 | 0.29793 | 0.79186 | 0.15555 | 0.1382 | 0.15286 | 0.0133 | 0.35256 | 0.18752 | Other | 26 | SFM | Residential Single Family | POOL_PMP
[8 empty] | 26-SFM-ResidentialSingleFamily-REFG | All | 1.0356 | 1.0961 | 1.1154 | 1.1733 | 1.2966 | 1.2769 | 0.09759 | 0.11855 | 0.24006 | 0.05154 | 0.20212 | 0.29015 | Refrigeration | 26 | SFM | Residential Single Family | REFG
[8 empty] | 26-SFM-ResidentialSingleFamily-SP_COOL | All | 2.9439 | 9.0849 | 16.6154 | 1 | 1 | 1 | 0.34704 | 0.21055 | 0.33241 | 0.03721 | 0.024807 | 0.047983 | HVAC | 26 | SFM | Residential Single Family | SP_COOL
[8 empty] | 26-SFM-ResidentialSingleFamily-SP_HEAT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0.075944 | 0.17597 | 0.74809 | HVAC | 26 | SFM | Residential Single Family | SP_HEAT
[8 empty] | 26-SFM-ResidentialSingleFamily-WAT_HEAT | All | 1.2889 | 0.95581 | 1.0782 | 0.86057 | 0.87246 | 1.1976 | 0.07419 | 0.12864 | 0.15374 | 0.06649 | 0.28421 | 0.29272 | Water Heating | 26 | SFM | Residential Single Family | WAT_HEAT
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-CL_DRY | All | 0.83405 | 1.0096 | 1.9572 | 1.0451 | 0.74392 | 1.6116 | 0.11749 | 0.12479 | 0.13714 | 0.05611 | 0.34157 | 0.22291 | Other | 27 | SMO | Residential Mobile Home – Single Wide | CL_DRY
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-CL_WASH | All | 0.89344 | 0.85952 | 1.8807 | 1.9968 | 0.73047 | 2.1085 | 0.11627 | 0.15539 | 0.14787 | 0.03113 | 0.36875 | 0.1806 | Other | 27 | SMO | Residential Mobile Home – Single Wide | CL_WASH
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-DSH_WASH | All | 2.1029 | 1.5488 | 1.0887 | 1.1092 | 1.5396 | 3.626 | 0.09059 | 0.15815 | 0.13503 | 0.10277 | 0.32086 | 0.19259 | Other | 27 | SMO | Residential Mobile Home – Single Wide | DSH_WASH
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-FREEZ | All | 0.96119 | 1.0765 | 1.1719 | 1.245 | 1.2576 | 1.216 | 0.10185 | 0.11692 | 0.23724 | 0.04705 | 0.20184 | 0.29511 | Refrigeration | 27 | SMO | Residential Mobile Home – Single Wide | FREEZ
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-LIGHT | All | 1.4012 | 1.1401 | 0.9085 | 0.62824 | 1.175 | 1.2364 | 0.07208 | 0.1139 | 0.19551 | 0.09619 | 0.22288 | 0.29944 | Lighting | 27 | SMO | Residential Mobile Home – Single Wide | LIGHT
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-POOL_PMP | All | 0.26041 | 0.37687 | 2.3803 | 1.8219 | 0.29793 | 0.79186 | 0.15555 | 0.1382 | 0.15286 | 0.0133 | 0.35256 | 0.18752 | Other | 27 | SMO | Residential Mobile Home – Single Wide | POOL_PMP
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-REFG | All | 1.0356 | 1.0961 | 1.1154 | 1.1733 | 1.2966 | 1.2769 | 0.09759 | 0.11855 | 0.24006 | 0.05154 | 0.20212 | 0.29015 | Refrigeration | 27 | SMO | Residential Mobile Home – Single Wide | REFG
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-SP_COOL | All | 2.9439 | 9.0849 | 16.6154 | 1 | 1 | 1 | 0.34704 | 0.21055 | 0.33241 | 0.03721 | 0.024807 | 0.047983 | HVAC | 27 | SMO | Residential Mobile Home – Single Wide | SP_COOL
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-SP_HEAT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0.075944 | 0.17597 | 0.74809 | HVAC | 27 | SMO | Residential Mobile Home – Single Wide | SP_HEAT
[8 empty] | 27-SMO-ResidentialMobileHome–SingleWide-WAT_HEAT | All | 1.2889 | 0.95581 | 1.0782 | 0.86057 | 0.87246 | 1.1976 | 0.07419 | 0.12864 | 0.15374 | 0.06649 | 0.28421 | 0.29272 | Water Heating | 27 | SMO | Residential Mobile Home – Single Wide | WAT_HEAT
[8 empty] | 28-SUN-Storage–Unconditioned-Exit | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.0847 | 0.1089 | 0.2256 | 0.0503 | 0.2182 | 0.3123 | Other | 28 | SUN | Storage – Unconditioned | Exit
[8 empty] | 28-SUN-Storage–Unconditioned-ExtLight | All | 0.27897 | 0.10255 | 1.5156 | 1 | 0.14615 | 1.0378 | 0.09515 | 0.12071 | 0.20377 | 0.05501 | 0.2362 | 0.28918 | Lighting | 28 | SUN | Storage – Unconditioned | ExtLight
[8 empty] | 29-WRF-Storage–Refrigerated-Cooling | All | 1.4695 | 2.2243 | 1.4271 | 1 | 0.25428 | 1.418 | 0.24351 | 0.25883 | 0.16464 | 0.016 | 0.24121 | 0.07581 | HVAC | 29 | WRF | Storage – Refrigerated | Cooling
[8 empty] | 29-WRF-Storage–Refrigerated-Exit | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.0847 | 0.1089 | 0.2256 | 0.0503 | 0.2182 | 0.3123 | Other | 29 | WRF | Storage – Refrigerated | Exit
[8 empty] | 29-WRF-Storage–Refrigerated-ExtLight | All | 0.27897 | 0.10255 | 1.5156 | 1 | 0.14615 | 1.0378 | 0.01327 | 0.10482 | 0.29455 | 0.07125 | 0.1075 | 0.40865 | Lighting | 29 | WRF | Storage – Refrigerated | ExtLight
[8 empty] | 30-S20-SIC20Food&KindredProducts-AG_PUMP | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1297 | 0.1656 | 0.3173 | 0.02618 | 0.20512 | 0.1562 | Other | 30 | S20 | SIC 20 Food & Kindred Products | AG_PUMP
[8 empty] | 30-S20-SIC20Food&KindredProducts-COMP_AIR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 30 | S20 | SIC 20 Food & Kindred Products | COMP_AIR
[8 empty] | 30-S20-SIC20Food&KindredProducts-COOL | All | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.2408 | 0.2115 | 0.3174 | 0.02272 | 0.09478 | 0.1127 | HVAC | 30 | S20 | SIC 20 Food & Kindred Products | COOL
[8 empty] | 30-S20-SIC20Food&KindredProducts-LIGHT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1491 | 0.1271 | 0.1723 | 0.0572 | 0.2206 | 0.2738 | Lighting | 30 | S20 | SIC 20 Food & Kindred Products | LIGHT
[8 empty] | 30-S20-SIC20Food&KindredProducts-MOTOR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 30 | S20 | SIC 20 Food & Kindred Products | MOTOR
[8 empty] | 30-S20-SIC20Food&KindredProducts-PROC_OTH | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 30 | S20 | SIC 20 Food & Kindred Products | PROC_OTH
[8 empty] | 31-S26-SIC26Paper&AlliedProducts-AG_PUMP | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1297 | 0.1656 | 0.3173 | 0.02618 | 0.20512 | 0.1562 | Other | 31 | S26 | SIC 26 Paper & Allied Products | AG_PUMP
[8 empty] | 31-S26-SIC26Paper&AlliedProducts-COMP_AIR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 31 | S26 | SIC 26 Paper & Allied Products | COMP_AIR
[8 empty] | 31-S26-SIC26Paper&AlliedProducts-COOL | All | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.2408 | 0.2115 | 0.3174 | 0.02272 | 0.09478 | 0.1127 | HVAC | 31 | S26 | SIC 26 Paper & Allied Products | COOL
[8 empty] | 31-S26-SIC26Paper&AlliedProducts-LIGHT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1491 | 0.1271 | 0.1723 | 0.0572 | 0.2206 | 0.2738 | Lighting | 31 | S26 | SIC 26 Paper & Allied Products | LIGHT
[8 empty] | 31-S26-SIC26Paper&AlliedProducts-MOTOR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 31 | S26 | SIC 26 Paper & Allied Products | MOTOR
[8 empty] | 31-S26-SIC26Paper&AlliedProducts-PROC_OTH | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 31 | S26 | SIC 26 Paper & Allied Products | PROC_OTH
[8 empty] | 32-S28-SIC28Chemicals&AlliedProducts-AG_PUMP | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1297 | 0.1656 | 0.3173 | 0.02618 | 0.20512 | 0.1562 | Other | 32 | S28 | SIC 28 Chemicals & Allied Products | AG_PUMP
[8 empty] | 32-S28-SIC28Chemicals&AlliedProducts-COMP_AIR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 32 | S28 | SIC 28 Chemicals & Allied Products | COMP_AIR
[8 empty] | 32-S28-SIC28Chemicals&AlliedProducts-COOL | All | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.2408 | 0.2115 | 0.3174 | 0.02272 | 0.09478 | 0.1127 | HVAC | 32 | S28 | SIC 28 Chemicals & Allied Products | COOL
[8 empty] | 32-S28-SIC28Chemicals&AlliedProducts-LIGHT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1491 | 0.1271 | 0.1723 | 0.0572 | 0.2206 | 0.2738 | Lighting | 32 | S28 | SIC 28 Chemicals & Allied Products | LIGHT
[8 empty] | 32-S28-SIC28Chemicals&AlliedProducts-MOTOR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 32 | S28 | SIC 28 Chemicals & Allied Products | MOTOR
[8 empty] | 32-S28-SIC28Chemicals&AlliedProducts-PROC_OTH | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 32 | S28 | SIC 28 Chemicals & Allied Products | PROC_OTH
[8 empty] | 33-S29-SIC29Petroleum&CoalProducts-AG_PUMP | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1297 | 0.1656 | 0.3173 | 0.02618 | 0.20512 | 0.1562 | Other | 33 | S29 | SIC 29 Petroleum & Coal Products | AG_PUMP
[8 empty] | 33-S29-SIC29Petroleum&CoalProducts-COMP_AIR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 33 | S29 | SIC 29 Petroleum & Coal Products | COMP_AIR
[8 empty] | 33-S29-SIC29Petroleum&CoalProducts-COOL | All | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.2408 | 0.2115 | 0.3174 | 0.02272 | 0.09478 | 0.1127 | HVAC | 33 | S29 | SIC 29 Petroleum & Coal Products | COOL
[8 empty] | 33-S29-SIC29Petroleum&CoalProducts-LIGHT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1491 | 0.1271 | 0.1723 | 0.0572 | 0.2206 | 0.2738 | Lighting | 33 | S29 | SIC 29 Petroleum & Coal Products | LIGHT
[8 empty] | 33-S29-SIC29Petroleum&CoalProducts-MOTOR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 33 | S29 | SIC 29 Petroleum & Coal Products | MOTOR
[8 empty] | 33-S29-SIC29Petroleum&CoalProducts-PROC_OTH | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 33 | S29 | SIC 29 Petroleum & Coal Products | PROC_OTH
[8 empty] | 34-S33-SIC33Metals-AG_PUMP | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1297 | 0.1656 | 0.3173 | 0.02618 | 0.20512 | 0.1562 | Other | 34 | S33 | SIC 33 Metals | AG_PUMP
[8 empty] | 34-S33-SIC33Metals-COMP_AIR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 34 | S33 | SIC 33 Metals | COMP_AIR
[8 empty] | 34-S33-SIC33Metals-COOL | All | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.2408 | 0.2115 | 0.3174 | 0.02272 | 0.09478 | 0.1127 | HVAC | 34 | S33 | SIC 33 Metals | COOL
[8 empty] | 34-S33-SIC33Metals-LIGHT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1491 | 0.1271 | 0.1723 | 0.0572 | 0.2206 | 0.2738 | Lighting | 34 | S33 | SIC 33 Metals | LIGHT
[8 empty] | 34-S33-SIC33Metals-MOTOR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 34 | S33 | SIC 33 Metals | MOTOR
[8 empty] | 34-S33-SIC33Metals-PROC_OTH | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 34 | S33 | SIC 33 Metals | PROC_OTH
[8 empty] | 35-OTI-OtherIndustrial-AG_PUMP | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1297 | 0.1656 | 0.3173 | 0.02618 | 0.20512 | 0.1562 | Other | 35 | OTI | Other Industrial | AG_PUMP
[8 empty] | 35-OTI-OtherIndustrial-COMP_AIR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 35 | OTI | Other Industrial | COMP_AIR
[8 empty] | 35-OTI-OtherIndustrial-COOL | All | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.2408 | 0.2115 | 0.3174 | 0.02272 | 0.09478 | 0.1127 | HVAC | 35 | OTI | Other Industrial | COOL
[8 empty] | 35-OTI-OtherIndustrial-LIGHT | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.1491 | 0.1271 | 0.1723 | 0.0572 | 0.2206 | 0.2738 | Lighting | 35 | OTI | Other Industrial | LIGHT
[8 empty] | 35-OTI-OtherIndustrial-MOTOR | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 35 | OTI | Other Industrial | MOTOR
[8 empty] | 35-OTI-OtherIndustrial-PROC_OTH | All | 1 | 1 | 1 | 1 | 1 | 1 | 0.101 | 0.1187 | 0.2194 | 0.04376 | 0.28914 | 0.228 | Other | 35 | OTI | Other Industrial | PROC_OTH
[8 empty] | 36-GST-Lodging-GuestRooms-Cooling | All | 1.3527 | 1.9782 | 1.2611 | 1 | 1.1246 | 2.171 | 0.1785 | 0.1719 | 0.2273 | 0.0493 | 0.2221 | 0.1509 | HVAC | 36 | GST | Lodging - Guest Rooms | Cooling
[8 empty] | 36-GST-Lodging-GuestRooms-ExtLight | All | 1.0673 | 0.13057 | 1.6278 | 1 | 0.67635 | 1.0936 | 0 | 0.0922 | 0.2605 | 0.096 | 0.086 | 0.4653 | Lighting | 36 | GST | Lodging - Guest Rooms | ExtLight
[8 empty] | 36-GST-Lodging-GuestRooms-IntLight | All | 1.0481 | 1.415 | 0.88764 | 1 | 0.80079 | 2.748 | 0.1402 | 0.1301 | 0.1499 | 0.0578 | 0.3068 | 0.2152 | Lighting | 36 | GST | Lodging - Guest Rooms | IntLight
[8 empty] | 36-GST-Lodging-GuestRooms-OffEquip | All | 1.0302 | 1.2299 | 0.97738 | 1 | 0.91339 | 1.5072 | 0.0958 | 0.1118 | 0.2119 | 0.044 | 0.2338 | 0.3027 | Other | 36 | GST | Lodging - Guest Rooms | OffEquip
[8 empty] | 36-GST-Lodging-GuestRooms-Refrig | All | 1.0258 | 1.0598 | 1.0183 | 1 | 0.87317 | 1.1191 | 0.0834 | 0.1002 | 0.2353 | 0.0486 | 0.1966 | 0.3361 | Refrigeration | 36 | GST | Lodging - Guest Rooms | Refrig
[8 empty] | 36-GST-Lodging-GuestRooms-Vent/Fan | All | 1.0103 | 1.2796 | 0.98228 | 1 | 0.99933 | 1.8627 | 0.0961 | 0.1168 | 0.2067 | 0.0553 | 0.2297 | 0.2954 | HVAC | 36 | GST | Lodging - Guest Rooms | Vent/Fan