## DEER Batch
; DEER-2003: Batch Processing Run Definitions File
;
; | Change History:
; |  | SAC | 2003-10-30 |  | Created first version
;
;
;
;
;
;
; | Batch Version: |  |  | Number denoting the version of batch processing mechanism this file written for (for backward compatibility)
;
; Batch
; Ver
3
;
;
;
;
; | Process Run: |  |  | Flag value (0/1) indicating whether or not to process this record/run
; | Building Type: |  |  | Building Type ID
; | Climate Zone: |  |  | Climate Zone (California Thermal Zone ID)
; | Vintage: |  |  | Vintage ID
; | Allow HVAC Resize: |  |  | Flag value (0/1) indicating whether or not the measure run will be simulated w/ downsized HVAC equipment (for new construction only)
; | Measure: |  |  | Measure ID
; | Above-Code Results: |  |  | (for Batch Ver > 2) - Flag (-1/0/1) indicating whether (1) or not (0) to report above code savings (-1 will result in program default => report above-code savings iff applicable)
; | Store Hourly Results: |  |  | (for Batch Ver > 1) - Flag (0/1) indicating whether or not hourly results are to be stored
; | Storage Option: |  |  | Specifies what files to be retained/archived following the measure analysis (refer to key @ bottom of Symbol Strings tab)
; | Debug Output: |  |  | Stores debug information for each run to the debug output CSV file
;
; |  |  |  | Allow |  | Above | Store |  |  |  |  | Run | [5 empty] | Allow |  | Above | Store
; Process | Building | Climate |  | HVAC |  | Code | Hourly | Storage | Debug |  | Do | Idx | Proto |  |  |  |  | HVAC |  | Code | Hourly | Storage | Debug
; Run | Type | Zone | Vintage | Resizing | Measure | Savings | Results | Option | Output |  | It | 0 | ID | Prototype | Building Type | Climate Zone | Vintage | Resizing | Measure | Savings | Results | Option | Output
; | [11 empty] | 0
1 | 1 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 1 | 100 | DEER Assembly GasPAC.edp | Assembly | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 1 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 2 | 101 | DEER Assembly Heat Pump.edp | Assembly | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 2 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 3 | 200 | DEER Primary School GasPAC.edp | Education - Primary School | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 2 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 4 | 201 | DEER Primary School Heat Pump.edp | Education - Primary School | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 3 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 5 | 300 | DEER High School GasPAC.edp | Education - Secondary School | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 3 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 6 | 301 | DEER High School Heat Pump.edp | Education - Secondary School | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 3 | 6 | 3 | 0 | 87 | -1 | 0 | 4 | 1 | ; | -Y- | 7 | 302 | DEER High School VAV.edp | Education - Secondary School | Los Angeles Area (CZ06) | 1993 - 2001 | no | Efficient HVAC Motors - Return Fans | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 4 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 8 | 400 | DEER Community College.edp | Education - Community College | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 4 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 9 | 401 | DEER Community College Heat Pump.edp | Education - Community College | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 5 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 10 | 500 | DEER University.edp | Education - University | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 6 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 11 | 600 | DEER Grocery GasPAC.edp | Grocery | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 6 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 12 | 601 | DEER Grocery Heat Pump.edp | Grocery | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 7 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 13 | 700 | DEER Hospital.edp | Health/Medical - Hospital | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 7 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 14 | 701 | DEER Hospital HP.edp | Health/Medical - Hospital | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 8 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 15 | 800 | DEER Nursing Home.edp | Health/Medical - Nursing Home | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 8 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 16 | 801 | DEER Nursing Home Heat Pump.edp | Health/Medical - Nursing Home | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 8 | 6 | 3 | 0 | 87 | -1 | 0 | 4 | 1 | ; | -Y- | 17 | 802 | DEER Nursing Home VAVS.edp | Health/Medical - Nursing Home | Los Angeles Area (CZ06) | 1993 - 2001 | no | Efficient HVAC Motors - Return Fans | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 9 | 6 | 3 | 0 | 42 | -1 | 0 | 4 | 1 | ; | -Y- | 18 | 900 | DEER Hotel VAV+FPFC+PSZ.edp | Lodging - Hotel | Los Angeles Area (CZ06) | 1993 - 2001 | no | High Efficiency VSD Centrifugal Chillers < 150 Tons | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 9 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 19 | 901 | DEER Hotel VAV+FPFC+PHP.edp | Lodging - Hotel | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 9 | 6 | 3 | 0 | 99 | -1 | 0 | 4 | 1 | ; | -Y- | 20 | 902 | DEER Hotel VAV+PTAC+PSZ.edp | Lodging - Hotel | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Package Terminal A/C 7k-15k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 9 | 6 | 4 | 0 | 42 | -1 | 0 | 4 | 1 | ; | -Y- | 21 | 904 | DEER Hotel VAV+PTHP+PSZ.edp | Lodging - Hotel | Los Angeles Area (CZ06) | 2002 - 2005 | no | High Efficiency VSD Centrifugal Chillers < 150 Tons | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 9 | 6 | 4 | 0 | 79 | -1 | 0 | 4 | 1 | ; | -Y- | 22 | 906 | DEER Hotel PVAV+PTHP+PSZ.edp | Lodging - Hotel | Los Angeles Area (CZ06) | 2002 - 2005 | no | H.E. Air-Cooled Split/Package A/C 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 10 | 6 | 3 | 0 | 99 | -1 | 0 | 4 | 1 | ; | -Y- | 23 | 1000 | DEER Motel PTAC Elec Res Heat.edp | Lodging - Motel | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Package Terminal A/C 7k-15k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 10 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 24 | 1001 | DEER Motel PTHP.edp | Lodging - Motel | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 11 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 25 | 1100 | DEER Bio Manufacturing GasPAC.edp | Manufacturing - Bio/Tech | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 11 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 26 | 1101 | DEER Bio Manufacturing Heat Pump.edp | Manufacturing - Bio/Tech | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 12 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 27 | 1200 | DEER Light Manufacturing GasPAC.edp | Manufacturing - Light Industrial | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 12 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 28 | 1201 | DEER Light Manufacturing Heat Pump.edp | Manufacturing - Light Industrial | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 29 | 1300 | DEER Large Office.edp | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 13 | 6 | 3 | 0 | 69 | -1 | 0 | 4 | 1 | ; | -Y- | 30 | 1301 | DEER Large Office WLHP.edp | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Efficient Water Source Heat Pump | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 31 | 1400 | DEER Small Office GasPAC.edp | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 14 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 32 | 1401 | DEER Small Office Heat Pump.edp | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 15 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 33 | 1500 | DEER Full Service Restaurant GasPAC.edp | Restaurant - Sit-Down | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 15 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 34 | 1501 | DEER Full Service Restaurant Heat Pump.edp | Restaurant - Sit-Down | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 16 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 35 | 1600 | DEER Fast Food Restaurant GasPAC.edp | Restaurant - Fast-Food | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 16 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 36 | 1601 | DEER Fast Food Restaurant Heat Pump.edp | Restaurant - Fast-Food | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 17 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 37 | 1700 | DEER Large 3-Story Retail.edp | Retail - 3-Story Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 18 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 38 | 1800 | DEER Large 1-Story Retail GasPAC.edp | Retail - Single-Story Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 18 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 39 | 1801 | DEER Large 1-Story Retail Heat Pump.edp | Retail - Single-Story Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 19 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 40 | 1900 | DEER Small Retail GasPAC.edp | Retail - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 19 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 41 | 1901 | DEER Small Retail Heat Pump.edp | Retail - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 20 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 42 | 2000 | DEER Conditioned Storage GasPAC.edp | Storage - Conditioned | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 20 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 43 | 2001 | DEER Conditioned Storage Heat Pump.edp | Storage - Conditioned | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 21 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 44 | 2100 | DEER Unconditioned Storage.edp | Storage - Unconditioned | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 22 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 45 | 2200 | DEER Refrigerated Warehouse GasPAC.edp | Warehouse - Refrigerated | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 22 | 6 | 3 | 0 | 81 | -1 | 0 | 4 | 1 | ; | -Y- | 46 | 2201 | DEER Refrigerated Warehouse Heat Pump.edp | Warehouse - Refrigerated | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Split/Package HP 65k-134k | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 23 | 6 | 3 | 0 | 404 | -1 | 0 | 4 | 1 | ; | -Y- | 47 | 2300 | DEER Single Family Split AC Gas Furn.edp | Residential - Single Family | Los Angeles Area (CZ06) | 1993 - 2001 | no | 15 SEER (12.72 EER) Split-System Air Conditioner | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 23 | 6 | 3 | 0 | 416 | -1 | 0 | 4 | 1 | ; | -Y- | 48 | 2301 | DEER Single Family Split HP.edp | Residential - Single Family | Los Angeles Area (CZ06) | 1993 - 2001 | no | 15 SEER (12.70 EER) / 8.8 HSPF (3.74 COP) A/C Heat Pump | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 24 | 6 | 3 | 0 | 404 | -1 | 0 | 4 | 1 | ; | -Y- | 49 | 2400 | DEER Multi Family Split AC Gas Furn.edp | Residential - Multifamily | Los Angeles Area (CZ06) | 1993 - 2001 | no | 15 SEER (12.72 EER) Split-System Air Conditioner | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 24 | 6 | 3 | 0 | 416 | -1 | 0 | 4 | 1 | ; | -Y- | 50 | 2401 | DEER Multi Family Split HP.edp | Residential - Multifamily | Los Angeles Area (CZ06) | 1993 - 2001 | no | 15 SEER (12.70 EER) / 8.8 HSPF (3.74 COP) A/C Heat Pump | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 26 | 6 | 3 | 0 | 404 | -1 | 0 | 4 | 1 | ; | -Y- | 51 | 2600 | DEER Double Wide Mobile Home GasPAC.edp | Residential - Double-Wide Mobile | Los Angeles Area (CZ06) | 1993 - 2001 | no | 15 SEER (12.72 EER) Split-System Air Conditioner | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 26 | 6 | 3 | 0 | 416 | -1 | 0 | 4 | 1 | ; | -Y- | 52 | 2601 | DEER Double Wide Mobile Home HtPump.edp | Residential - Double-Wide Mobile | Los Angeles Area (CZ06) | 1993 - 2001 | no | 15 SEER (12.70 EER) / 8.8 HSPF (3.74 COP) A/C Heat Pump | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 27 | 6 | 3 | 0 | 78 | -1 | 0 | 4 | 1 | ; | -Y- | 53 | 2700 | DEER Relocatable Classroom PSZ.edp | Education - Relocatable Classroom | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Package A/C < 65k (single phase) | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 27 | 6 | 3 | 0 | 80 | -1 | 0 | 4 | 1 | ; | -Y- | 54 | 2701 | DEER Relocatable Classroom PHP.edp | Education - Relocatable Classroom | Los Angeles Area (CZ06) | 1993 - 2001 | no | H.E. Air-Cooled Package HP < 65k (single phase) | Rpt Abv If Applic | no | Inputs + Debug | - YES -
1 | 27 | 6 | 1 | 0 | 1 | -1 | 0 | 4 | 1 | ; | -Y- | 55 | 2702 | DEER Relocatable Classroom Elec Heat.edp | Education - Relocatable Classroom | Los Angeles Area (CZ06) | Before 1978 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 15 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Restaurant - Sit-Down | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 15 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Restaurant - Sit-Down | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 4 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Education - Community College | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 5 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Education - University | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 6 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Grocery | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 2 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Education - Primary School | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 3 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Education - Secondary School | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 4 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Education - Community College | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 6 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Grocery | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 7 | 6 | 3 | 1 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Health/Medical - Hospital | Los Angeles Area (CZ06) | 1993 - 2001 | - YES - | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 8 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Health/Medical - Nursing Home | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 9 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Lodging - Hotel | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 11 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Manufacturing - Bio/Tech | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 12 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Manufacturing - Light Industrial | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 14 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 15 | 6 | 3 | 1 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Restaurant - Sit-Down | Los Angeles Area (CZ06) | 1993 - 2001 | - YES - | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 16 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Restaurant - Fast-Food | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 18 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Retail - Single-Story Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 19 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Retail - Small | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
0 | 13 | 6 | 3 | 0 | 1 | -1 | 0 | 4 | 1 | ; | n | 55 |  |  | Office - Large | Los Angeles Area (CZ06) | 1993 - 2001 | no | Indoor Lighting Low Load Reduction | Rpt Abv If Applic | no | Inputs + Debug | - YES -
; END OF FILE
-1

## Symbols
DEERProto:BldgType
|  | 0 | - select building type -
|  | 1 | Assembly
|  | 2 | Education - Primary School
|  | 3 | Education - Secondary School
|  | 4 | Education - Community College
|  | 5 | Education - University
|  | 27 | Education - Relocatable Classroom
|  | 6 | Grocery
|  | 7 | Health/Medical - Hospital
|  | 8 | Health/Medical - Nursing Home
|  | 9 | Lodging - Hotel
|  | 10 | Lodging - Motel
|  | 11 | Manufacturing - Bio/Tech
|  | 12 | Manufacturing - Light Industrial
|  | 13 | Office - Large
|  | 14 | Office - Small
|  | 23 | Residential - Single Family
|  | 24 | Residential - Multifamily
|  | 25 | Residential - Single-Wide Mobile
|  | 26 | Residential - Double-Wide Mobile
|  | 15 | Restaurant - Sit-Down
|  | 16 | Restaurant - Fast-Food
|  | 17 | Retail - 3-Story Large
|  | 18 | Retail - Single-Story Large
|  | 19 | Retail - Small
|  | 20 | Storage - Conditioned
|  | 21 | Storage - Unconditioned
|  | 22 | Warehouse - Refrigerated
|  | -99 | - ERROR -
DEERProto:Region
|  | 0 | - select region -
|  | 1 | Arcata Area (CZ01)
|  | 15 | Blythe Area (CZ15)
|  | 14 | China Lake Area (CZ14)
|  | 8 | El Toro Area (CZ08)
|  | 13 | Fresno Area (CZ13)
|  | 6 | Los Angeles Area (CZ06)
|  | 16 | Mount Shasta Area (CZ16)
|  | 3 | Oakland Area (CZ03)
|  | 9 | Pasadena Area (CZ09)
|  | 11 | Red Bluff Area (CZ11)
|  | 12 | Sacramento Area (CZ12)
|  | 10 | San Bernardino Area (CZ10)
|  | 7 | San Diego Area (CZ07)
|  | 5 | Santa Maria Area (CZ05)
|  | 2 | Santa Rosa Area (CZ02)
|  | 4 | Sunnyvale Area (CZ04)
|  | -99 | - ERROR -
DEERProto:Vintage
DEERProto:BldgType = "Residential - Single-Wide Mobile" -or- "Residential - Double-Wide Mobile"
|  | 11 | Mobile Vint 1
|  | 12 | Mobile Vint 2
|  | 13 | Mobile Vint 3
All Other Scenarios
|  | 0 | - select vintage -
|  | 1 | Before 1978
|  | 2 | 1978 - 1992
|  | 3 | 1993 - 2001
|  | 4 | 2002 - 2005
|  | 5 | After 2005
|  | -99 | - ERROR -
DEERProto:Measure
|  | 0 | - select measure -
|  | 1 | Indoor Lighting Low Load Reduction
|  | 2 | Indoor Lighting High Load Reduction
|  | 3 | Occupancy Sensor Pack-200 SF
|  | 4 | Occupancy Sensor Pack-1000 SF
|  | 5 | DayLtg Controls, Side Ltg, Cont. Ctrl
|  | 6 | DayLtg Controls, Side Ltg, 2-step Ctrl
|  | 7 | DayLtg Controls, Top Ltg, Cont. Ctrl
|  | 8 | DayLtg Controls, Top Ltg, 1-step Ctrl
|  | 9 | DayLtg Controls, Top Ltg, 2-step Ctrl
|  | 10 | Timeclock for Lighting
|  | 11 | Plug Loads Low Load Reduction
|  | 12 | Plug Loads High Load Reduction
|  | 13 | Ceiling/Roof Insulation
|  | 123 | Floor Insulation
|  | 14 | Tank Insulation-Fiber Blanket
|  | 15 | Air Curtain
|  | 16 | Light Colored Roof
|  | 17 | Low SHGC Windows -15% - North
|  | 18 | Low SHGC Windows -20% - East
|  | 19 | Low SHGC Windows -20% - South
|  | 20 | Low SHGC Windows -20% - West
|  | 21 | Low SHGC Windows -20% - North
|  | 22 | Low SHGC Windows -30% - East
|  | 23 | Low SHGC Windows -30% - South
|  | 24 | Low SHGC Windows -30% - West
|  | 25 | Hi Perf. Glass, PI=1.15, Side Ltg, Cont. Ctrl
|  | 26 | Hi Perf. Glass, PI=1.26, Side Ltg, Cont. Ctrl
|  | 27 | Hi Perf. Glass, PI=1.38, Side Ltg, Cont. Ctrl
|  | 28 | Hi Perf. Glass, PI=1.15, Side Ltg, 2-Step Ctrl
|  | 29 | Hi Perf. Glass, PI=1.26, Side Ltg, 2-Step Ctrl
|  | 30 | Hi Perf. Glass, PI=1.38, Side Ltg, 2-Step Ctrl
|  | 31 | Hi Perf. Glass, PI=0.81, Top Ltg, Cont. Ctrl
|  | 32 | Hi Perf. Glass, PI=0.92, Top Ltg, Cont. Ctrl
|  | 33 | Hi Perf. Glass, PI=1.03, Top Ltg, Cont. Ctrl
|  | 34 | Hi Perf. Glass, PI=0.81, Top Ltg, 1-Step Ctrl
|  | 35 | Hi Perf. Glass, PI=0.92, Top Ltg, 1-Step Ctrl
|  | 36 | Hi Perf. Glass, PI=1.03, Top Ltg, 1-Step Ctrl
|  | 37 | Hi Perf. Glass, PI=0.81, Top Ltg, 2-Step Ctrl
|  | 38 | Hi Perf. Glass, PI=0.92, Top Ltg, 2-Step Ctrl
|  | 39 | Hi Perf. Glass, PI=1.03, Top Ltg, 2-Step Ctrl
|  | 40 | High Efficiency Centrifugal Chillers < 150 Tons
|  | 116 | High Efficiency Centrifugal Chillers 150-299 Tons
|  | 117 | High Efficiency Centrifugal Chillers >= 300 Tons
|  | 42 | High Efficiency VSD Centrifugal Chillers < 150 Tons
|  | 121 | High Efficiency VSD Centrifugal Chillers 150-299 Tons
|  | 122 | High Efficiency VSD Centrifugal Chillers >= 300 Tons
|  | 41 | High Efficiency Air-Cooled Recip Packaged Chillers
|  | 115 | High Efficiency Water-Cooled Recip Chillers
|  | 114 | High Efficiency Air-Cooled Screw Packaged Chillers
|  | 118 | High Efficiency Screw Chillers < 150 Tons
|  | 119 | High Efficiency Screw Chillers 150-299 Tons
|  | 120 | High Efficiency Screw Chillers >= 300 Tons
|  | 43 | Gas Absorption Chiller
|  | 44 | Chilled Water Reset
|  | 45 | Hot Water Reset
|  | 46 | Variable Flow Chilled Water Loop
|  | 47 | VSD Chilled Water Loop Pump
|  | 48 | Variable Flow Hot Water Loop
|  | 49 | VSD Hot Water Loop Pump
|  | 50 | Variable Air Volume Box
|  | 51 | VSD Supply Fan Motors
|  | 52 | Fan Powered Mixing Boxes
|  | 53 | Evap Cool Indirect - Central System
|  | 54 | Evap Cool Indirect - Packaged Sys
|  | 55 | Reducing Overventilation
|  | 56 | Air To Air Heat Exchanger
|  | 57 | Rotary Heat Recovery
|  | 58 | Economizer - Packaged System
|  | 59 | Economizer - Central system
|  | 60 | Economizer Maintenance
|  | 61 | Clean Condenser Coils
|  | 62 | Cooling Tower for Packaged System
|  | 63 | Two-Speed Cooling Tower Fans
|  | 64 | VSD Cooling Tower Fans
|  | 65 | Efficient Gas Furnace
|  | 66 | High Efficiency Large Boilers
|  | 67 | High Efficiency Small HW Boilers
|  | 68 | High Efficiency Small Steam Boilers
|  | 69 | Efficient Water Source Heat Pump
|  | 70 | Hydronic Heat Pump Var Flow Valve
|  | 71 | Time Clocks (heating/cooling)
|  | 72 | Energy Management System
|  | 73 | Setback Programmable Thermostats
|  | 74 | - Measure 74 Removed -
|  | 75 | Duct Insulation Material
|  | 78 | H.E. Air-Cooled Package A/C < 65k (single phase)
|  | 109 | H.E. Air-Cooled Package A/C < 65k (12 SEER, 3 phase before 2008)
|  | 110 | H.E. Air-Cooled Package A/C < 65k (13 SEER, 3 phase before 2008)
|  | 76 | H.E. Air-Cooled Split A/C < 65k (single phase)
|  | 108 | H.E. Air-Cooled Split A/C < 65k (3 phase before 2008)
|  | 79 | H.E. Air-Cooled Split/Package A/C 65k-134k
|  | 103 | H.E. Air-Cooled Split/Package A/C 135-239k
|  | 104 | H.E. Air-Cooled Split/Package A/C 240-759k
|  | 105 | H.E. Air-Cooled Split/Package A/C >= 760k
|  | 80 | H.E. Air-Cooled Package HP < 65k (single phase)
|  | 112 | H.E. Air-Cooled Package HP < 65k (12 SEER, 3 phase before 2008)
|  | 113 | H.E. Air-Cooled Package HP < 65k (13 SEER, 3 phase before 2008)
|  | 77 | H.E. Air-Cooled Split HP < 65k (single phase)
|  | 111 | H.E. Air-Cooled Split HP < 65k (3 phase before 2008)
|  | 81 | H.E. Air-Cooled Split/Package HP 65k-134k
|  | 106 | H.E. Air-Cooled Split/Package HP 135-239k
|  | 107 | H.E. Air-Cooled Split/Package HP 240-759k
|  | 124 | H.E. Air-Cooled Split/Package HP >= 760k
|  | 82 | H.E. Evap/Water-Cooled Pkg A/C < 65k
|  | 83 | H.E. Evap/Water-Cooled Pkg A/C >=65k
|  | 84 | H.E. Package Terminal A/C < 7k
|  | 99 | H.E. Package Terminal A/C 7k-15k
|  | 100 | H.E. Package Terminal A/C > 15k
|  | 85 | H.E. Package Terminal HP < 7k
|  | 101 | H.E. Package Terminal HP 7k-15k
|  | 102 | H.E. Package Terminal HP > 15k
|  | 86 | Efficient HVAC Motors - Supply Fans
|  | 87 | Efficient HVAC Motors - Return Fans
|  | 88 | Efficient HVAC Motors - Clg Tower Fans
|  | 89 | Effic. Motors - Chilled Water Loop Pumps
|  | 90 | Effic. Motors - Hot Water Loop Pumps
|  | 91 | Effic. Motors - Cond. Water Loop Pumps
|  | 92 | High Efficiency Gas Water Heater
|  | 93 | Gas Tankless Water Heating
|  | 94 | Point of Use Water Heating
|  | 95 | Circulation Pump Timeclock Retrofit
|  | 96 | High Eff Large Size Gas Water Heater
|  | 97 | High Eff Med Size Gas Water Heater
|  | 98 | Water Side Economizer
|  | 201 | Retrocommissioning
|  | 202 | High Efficiency Walk-in Fan Motors
|  | 203 | High Efficiency Display Fan Motors
|  | 204 | Heat Recovery from Central Refrigeration System
|  | 205 | Night Covers for Display Cases (medium temp)
|  | 206 | Medium Temp Glass Doors (open display cases)
|  | 207 | New Medium Temp Refrig Display Case with Doors
|  | 208 | Auto-Closers on Main Cooler Doors
|  | 209 | Auto-Closers on Main Freezer Doors
|  | 210 | Evaporator Fan Control on Walk-in Coolers & Freezers
|  | 211 | Air-Cooled Condenser to Evaporative Condenser
|  | 212 | Energy Efficient Air-Cooled Condenser
|  | 213 | Energy Efficient Evap-Cooled Condenser
|  | 214 | Multiplex System with Mech Subcooling (air-cooled)
|  | 215 | Multiplex System with Mech Subcooling (evap-cooled)
|  | 216 | Multiplex System with Mech Subcooling (high eff air-cooled)
|  | 217 | Multiplex System with Mech Subcooling (high eff evap-cooled)
|  | 218 | Low Temperature Mechanical Subcooling
|  | 219 | Low and Medium Temp Mechanical Subcooling
|  | 220 | Floating Suction Pressure
|  | 221 | Floating Head Pressure, Fixed Setpoint (air-cooled)
|  | 222 | Floating Head Pressure, Fixed Setpoint (evap-cooled)
|  | 223 | Floating Head Pressure, Variable Setpoint (air-cooled)
|  | 224 | Floating Head Pressure, Variable Setpoint (evap-cooled)
|  | 225 | Floating Head Pressure, Variable Setpt & Speed (air-cooled)
|  | 226 | Floating Head Pressure, Variable Setpt & Speed (evap-cooled)
|  | 227 | Display Case Lighting Control
|  | 228 | Zero Heat Reach-in Glass Doors
|  | 301 | Retrocommissioning
|  | 302 | Oversized Evaporative Condenser
|  | 303 | Oversized Evaporative Condenser & Floating Head
|  | 304 | Variable-Speed Compressors
|  | 305 | Low-Temperature Subcooling
|  | 306 | Floating Suction Pressure
|  | 307 | Floating Head Pressure, Fixed Setpoint (evap-cooled)
|  | 308 | Floating Head Pressure, Variable Setpoint (evap-cooled)
|  | 309 | Floating Head Pressure, Variable Setpt & Speed (evap-cooled)
|  | 401 | Programmable Thermostat
|  | 402 | 13 SEER (11.09 EER) Split System Air Conditioner
|  | 403 | 14 SEER (12.15 EER) Split-System Air Conditioner
|  | 404 | 15 SEER (12.72 EER) Split-System Air Conditioner
|  | 463 | 16 SEER (11.61 EER) Split System Air Conditioner
|  | 464 | 17 SEER (12.28 EER) Split-System Air Conditioner
|  | 465 | 18 SEER (13.37 EER) Split-System Air Conditioner
|  | 414 | 13 SEER (11.07 EER) / 8.1 HSPF (3.28 COP) A/C Heat pump
|  | 415 | 14 SEER (12.19 EER) / 8.6 HSPF (3.52 COP) A/C Heat Pump
|  | 416 | 15 SEER (12.70 EER) / 8.8 HSPF (3.74 COP) A/C Heat Pump
|  | 466 | 16 SEER (12.06 EER) / 8.4 HSPF (3.48 COP) A/C Heat Pump
|  | 467 | 17 SEER (12.52 EER) / 8.6 HSPF (3.26 COP) A/C Heat Pump
|  | 417 | 18 SEER (12.8 EER) / 9.2 HSPF (3.66 COP) A/C Heat Pump
|  | 461 | Basic Furnace Upgrade to 81% AFUE
|  | 410 | Condensing 90 AFUE (1.11 HIR) Furnace
|  | 411 | Condensing 92 AFUE (1.08 HIR) Furnace
|  | 412 | Condensing 94 AFUE (1.06 HIR) Furnace
|  | 413 | Condensing 96 AFUE (1.03 HIR) Furnace
|  | 405 | Direct Evaporative Cooler
|  | 406 | Indirect Evaporative Cooler
|  | 407 | Direct-Indirect Evaporative Cooler
|  | 408 | Refrigerant charge 1 ???
|  | 409 | Refrigerant charge 2 ???
|  | 459 | Refrigerant charge 1 + duct sealing ???
|  | 460 | Refrigerant charge 2 + duct sealing ???
|  | 462 | Duct Sealing (Total Leakage Reduction 12% of AHU flow)
|  | 458 | Duct Sealing (Total Leakage Reduction 12% of AHU flow)
|  | 418 | Duct Sealing (Total Leakage Reduction 28% of AHU flow)
|  | 441 | Whole House Fans
|  | 439 | Low-Income Weatherization w/out Evaporative Cooler
|  | 440 | Low-Income Weatherization w/ Evaporative Cooler
|  | 420 | Ceiling R-0 to R-30 Insulation-Batts
|  | 421 | Ceiling R-0 to R-38 Insulation-Batts
|  | 422 | Ceiling Vintage to R-30 Insulation-Batts
|  | 423 | Ceiling Vintage to R-38 Insulation-Batts
|  | 424 | Ceiling Vintage to R-49 Insulation-Batts
|  | 426 | Floor R-0 to R-19 Insulation Batts
|  | 427 | Floor R-0 to R-30 Insulation Batts
|  | 428 | Floor R-19 to R-30 Insulation-Batts
|  | 429 | Wall 2x4 R-15 Insulation-Batts
|  | 430 | Wall 2x6 R-19 Insulation-Batts
|  | 431 | Wall 2x6 R-21 Insulation-Batts
|  | 435 | Wall 2x4 R-13 Batts + R-5 Rigid
|  | 436 | Wall 2x6 R-19 Batts + R-5 Rigid
|  | 437 | Wall 2x6 R-21 Batts + R-5 Rigid
|  | 438 | Wall Blow-In R-0 to R-13 Insulation
|  | 442 | Default Window With Sunscreen
|  | 443 | Single Pane Clear Glass With Reflective Film
|  | 444 | Single Pane Clear Glass With Spectrally Selective Film
|  | 445 | Single Pane Clear Glass With Standard Film
|  | 446 | U-0.50 / SHGC-0.65 (clear) Window
|  | 447 | U-0.40 / SHGC-0.65 (clear) Window
|  | 448 | U-0.35 / SHGC-0.55 (clear) Window
|  | 449 | U-0.25 / SHGC-0.35 (clear) Window
|  | 450 | U-0.50 / SHGC-0.40 (tint) Window
|  | 451 | U-0.40 / SHGC-0.40 (tint) Window
|  | 452 | U-0.35 / SHGC-0.32 (tint) Window
|  | 453 | U-0.25 / SHGC-0.22 (tint) Window
|  | -99 | - ERROR -
Above Code Savings
|  | 0 | NO Above Code
|  | 1 | Rpt Above Code
|  | -1 | Rpt Abv If Applic
Storage Option
|  | 0 | Delete ALL | Delete ALL run files and run directories following processing
|  | 1 | Inputs Only | Retain only the Run Input & Processing Log files (*.pd2, inp, inc, cal, xeu & txt)
|  | 2 | Inputs + BDL | Retain (1) + BDL output (*.bdl)
|  | 3 | Inputs + BDL/SIM | Retain (2) + text simulation output (*.sim, csv)
|  | 4 | Inputs + Debug | Retain (3) + debugging BDL output (for022)
|  | 5 | Inputs + Results | Retain (4) + binary simulation outputs (*.lin, sin, lrp, srp, erp & nhk)
|  | 6 | Save ALL | Retain ALL Run Files
|  | -99 | - ERROR -