## A
STANDARD 140 OUTPUT FORM - RESULTS |  |  |  |  | Sec5-2out.XLS
INSTRUCTIONS:
1) Use specified units.
2) All radiation data is for sum of direct and diffuse solar radiation.
3) Format dates using the appropriate two-digit date followed by a three-digit
month code and two-digit hour code (24 hour clock), as shown below.
MONTH |  | CODE
January |  | Jan
February |  | Feb
March |  | Mar
April |  | Apr
May |  | May
June |  | Jun
July |  | Jul
August |  | Aug
September |  | Sep
October |  | Oct
November |  | Nov
December |  | Dec
For example, a peak occuring on Jan 4 during the 15th hour interval (2-3 PM),
should be input as:
DATE HOUR
04-Jan 15
4) Data entry is restricted to Column B or Columns B,C,D. Enter appropriate
output in the proper column(s) for the case or hour listed in column A. This
worksheet extends down to Row 901. Note that the protection option has been
used in this worksheet to help assure that data is input to the correct cells.
DOE22-47d |  | JJH
DOE-2.2 version 47d (also used in eQUEST 3.63b), J.J. Hirsch & Assoc., July 21, 2009
ANNUAL HEATING LOADS (COLUMN B)
PROGRAM:
VERSION: |  | Input from ss-a as positive value
CASE# | MWh | MBtu
600 | 4.3848 | 14.96
610 | 4.4853 | 15.303
620 | 4.7479 | 16.199
630 | 5.2122 | 17.783
640 | 2.4831 | 8.472
650 | 0 | 0
900 | 1.2228 | 4.172
910 | 1.4831 | 5.06
920 | 3.23 | 11.02
930 | 4.1667 | 14.216
940 | 0.78375 | 2.674
950 | 0 | 0
960 | 2.3512 | 8.022
195 | 4.6799 | 15.967
200
210
215 | 6.2061 | 21.174
220 | 7.6795 | 26.201
230 | 11.1305 | 37.975
240 | 6.3928 | 21.811
250 | 6.068 | 20.703
270 | 4.6852 | 15.985
280 | 5.3142 | 18.131
290 | 4.8063 | 16.398
300 | 4.9947 | 17.041
310 | 5.4613 | 18.633
320 | 3.8648 | 13.186
395 | 5.4226 | 18.501
400 | 7.6103 | 25.965
410 | 9.2705 | 31.629
420 | 7.9629 | 27.168
430 | 6.1149 | 20.863
440 | 4.832 | 16.486
800 | 5.2934 | 18.06
810 | 2.1141 | 7.213
ANNUAL COOLING LOADS (COLUMN B)
PROGRAM:
VERSION: |  | Input from ss-a as positive value
CASE# | MWh | MBtu
600 | 7.5626 | 25.802
610 | 5.4801 | 18.697
620 | 4.9701 | 16.957
630 | 3.0339 | 10.351
640 | 7.1549 | 24.411
650 | 6.0235 | 20.551
900 | 3.4624 | 11.813
910 | 1.8345 | 6.259
920 | 3.2179 | 10.979
930 | 1.8392 | 6.275
940 | 3.3493 | 11.427
950 | 0.79459 | 2.711
960 | 0.81921 | 2.795
195 | 0.58591 | 1.999
200
210
215 | 0.8919 | 3.043
220 | 0.54106 | 1.846
230 | 0.83621 | 2.853
240 | 0.86054 | 2.936
250 | 2.5453 | 8.684
270 | 9.2532 | 31.57
280 | 5.9863 | 20.424
290 | 7.0933 | 24.201
300 | 6.2779 | 21.419
310 | 3.9674 | 13.536
320 | 6.3538 | 21.678
395 | 0.0002931 | 0.001
400 | 0.0076206 | 0.026
410 | 0.019345 | 0.066
420 | 0.077965 | 0.266
430 | 0.96899 | 3.306
440 | 4.8212 | 16.449
800 | 0.31069 | 1.06
810 | 1.6551 | 5.647
ANNUAL HOURLY INTEGRATED PEAK HEATING LOADS (COLUMNS B,C,D)
PROGRAM:
VERSION: |  |  |  | Input from ss-a as positive value
CASE# | kW | DATE | TIME | kBtu/h
600 | 3.7147 | 2009-01-04 | 7 | 12.674
610 | 3.7036 | 2009-01-04 | 7 | 12.636
620 | 3.7605 | 2009-01-04 | 7 | 12.83
630 | 3.742 | 2009-01-04 | 5 | 12.767
640 | 5.7357 | 2009-01-04 | 8 | 19.569
650 | 0 |  |  | 0
900 | 3.2426 | 2009-01-04 | 7 | 11.063
910 | 3.2505 | 2009-01-04 | 7 | 11.09
920 | 3.504 | 2009-01-04 | 7 | 11.955
930 | 3.5316 | 2009-01-04 | 7 | 12.049
940 | 5.3807 | 2009-01-04 | 8 | 18.358
950 | 0 |  |  | 0
960 | 2.6054 | 2009-01-04 | 8 | 8.889
195 | 2.1414 | 2009-01-04 | 7 | 7.306
200
210
215 | 2.9635 | 2009-01-04 | 5 | 10.111
220 | 3.2414 | 2009-01-04 | 5 | 11.059
230 | 4.7424 | 2009-01-04 | 2 | 16.18
240 | 3.0582 | 2009-01-04 | 5 | 10.434
250 | 3.2385 | 2009-01-04 | 5 | 11.049
270 | 3.1508 | 2009-01-04 | 7 | 10.75
280 | 3.174 | 2009-01-04 | 7 | 10.829
290 | 3.14 | 2009-01-04 | 7 | 10.713
300 | 3.1942 | 2009-01-04 | 7 | 10.898
310 | 3.1775 | 2009-01-04 | 5 | 10.841
320 | 3.1529 | 2009-01-04 | 7 | 10.757
395 | 2.2923 | 2009-01-04 | 3 | 7.821
400 | 3.2514 | 2009-01-04 | 5 | 11.093
410 | 3.9906 | 2009-01-04 | 5 | 13.615
420 | 3.8074 | 2009-01-04 | 5 | 12.99
430 | 3.8041 | 2009-01-04 | 5 | 12.979
440 | 3.7359 | 2009-01-04 | 7 | 12.746
800 | 3.6274 | 2009-01-04 | 7 | 12.376
810 | 3.3797 | 2009-01-04 | 7 | 11.531
ANNUAL HOURLY INTEGRATED PEAK COOLING LOADS (COLUMNS B,C,D)
PROGRAM:
VERSION: |  |  |  | Input from ss-a as positive value
CASE# | kW | DATE | TIME | kBtu/h
600 | 6.6279 | 2009-10-16 | 14 | 22.613
610 | 6.1082 | 2009-01-13 | 14 | 20.84
620 | 4.5911 | 2009-07-26 | 17 | 15.664
630 | 3.7789 | 2009-07-26 | 17 | 12.893
640 | 6.5458 | 2009-10-16 | 14 | 22.333
650 | 6.4353 | 2009-10-16 | 14 | 21.956
900 | 3.8601 | 2009-10-17 | 14 | 13.17
910 | 3.0556 | 2009-10-17 | 15 | 10.425
920 | 3.3961 | 2009-07-26 | 17 | 11.587
930 | 2.6965 | 2009-07-26 | 17 | 9.2
940 | 3.8601 | 2009-10-17 | 14 | 13.17
950 | 2.9706 | 2009-09-02 | 15 | 10.135
960 | 1.3843 | 2009-07-26 | 16 | 4.723
195 | 0.88164 | 2009-07-26 | 16 | 3.008
200
210
215 | 1.2211 | 2009-07-26 | 15 | 4.166
220 | 1.0162 | 2009-07-27 | 15 | 3.467
230 | 1.5247 | 2009-07-27 | 15 | 5.202
240 | 1.1994 | 2009-07-27 | 15 | 4.092
250 | 2.343 | 2009-08-26 | 14 | 7.994
270 | 6.7231 | 2009-01-13 | 14 | 22.938
280 | 4.7139 | 2009-10-16 | 13 | 16.083
290 | 6.605 | 2009-01-13 | 14 | 22.535
300 | 4.3514 | 2009-07-26 | 17 | 14.846
310 | 3.5204 | 2009-07-26 | 17 | 12.011
320 | 6.0622 | 2009-01-13 | 14 | 20.683
395 | 0.095257 | 2009-07-27 | 17 | 0.325
400 | 0.34117 | 2009-07-27 | 17 | 1.164
410 | 0.48098 | 2009-07-27 | 16 | 1.641
420 | 0.72923 | 2009-07-27 | 15 | 2.488
430 | 1.9948 | 2009-08-26 | 14 | 6.806
440 | 4.8473 | 2009-10-16 | 14 | 16.538
800 | 1.2545 | 2009-08-16 | 14 | 4.28
810 | 2.6992 | 2009-09-02 | 14 | 9.209
FREE-FLOAT CASE TEMPERATURE OUTPUT
MAX ANNUAL HOURLY ZONE TEMP (COLUMNS B,C,D)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report Yearly summary
CASE# | TEMP (C) | DATE | TIME | °F
600FF | 67.9444 | 2009-10-17 | 15 | 154.3
900FF | 45.1667 | 2009-10-17 | 15 | 113.3
650FF | 65.2222 | 2009-10-17 | 15 | 149.4
950FF | 36.8333 | 2009-09-02 | 15 | 98.3
960 | 51.7778 | 2009-10-17 | 15 | 125.2
MIN ANNUAL HOURLY ZONE TEMP
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report Yearly summary
CASE# | TEMP (C) | DATE | TIME | °F
600FF | -14.8333 | 2009-01-04 | 8 | 5.3
900FF | -0.94444 | 2009-01-04 | 8 | 30.3
650FF | -17 | 2009-01-04 | 8 | 1.4
950FF | -13.7778 | 2009-01-04 | 7 | 7.2
960 | 6.5 | 2009-02-06 | 7 | 43.7
AVG ANNUAL HOURLY ZONE TEMP (COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report Yearly summary
CASE# | TEMP (C) |  |  | °F
600FF | 27.1667 |  |  | 80.9
900FF | 27.2222 |  |  | 81
650FF | 20.5556 |  |  | 69
950FF | 16.1111 |  |  | 61
960 | 30.4444 |  |  | 86.8
SOLAR RADIATION
ANNUAL INCIDENT TOTAL
CASE 600
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  | from annrad-rep
SURFACE | kWh/m2 | Btu/hft2
= | = | = | =
NORTH | 450.5931 | 142837.25
EAST | 1166.6069 | 369812.41
WEST | 1089.6687 | 345423.13
SOUTH | 1580.3699 | 500974.59
HORZ. | 1832.076 | 580765
= | = | = | =
SOLAR RADIATION
UNSHADED ANNUAL TRANSMITTED
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  | from annrad-rep
CASE# | kWh/m2 | Btu/hft2
= | = | = | =
920WEST | 685.7239 | 217373.3
900SOUTH | 975.5393 | 309244.3
= | = | = | =
SOLAR RADIATION
SHADED ANNUAL TRANSMITTED
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  | from annrad-rep
CASE# | kWh/m2 | Btu/hft2
= | = | = | =
930WEST | 452.9169 | 143573.9
910SOUTH | 786.96 | 249465
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION CLOUDY DAY, MARCH 5
CASE 600 OR 900
SOUTH SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | Wh/m2 |  |  | Btu/hft2
= | = | = | =
1 | 0 |  |  | 0
2 | 0 |  |  | 0
3 | 0 |  |  | 0
4 | 0 |  |  | 0
5 | 0 |  |  | 0
6 | 0 |  |  | 0
7 | 1.4817 |  |  | 0.47
8 | 12.4523 |  |  | 3.95
9 | 29.4442 |  |  | 9.34
10 | 45.6164 |  |  | 14.47
11 | 58.5731 |  |  | 18.58
12 | 64.2791 |  |  | 20.39
13 | 66.1706 |  |  | 20.99
14 | 62.3245 |  |  | 19.77
15 | 51.1332 |  |  | 16.22
16 | 36.6003 |  |  | 11.61
17 | 18.9149 |  |  | 6
18 | 4.6026 |  |  | 1.46
19 | 0 |  |  | 0
20 | 0 |  |  | 0
21 | 0 |  |  | 0
22 | 0 |  |  | 0
23 | 0 |  |  | 0
24 | 0 |  |  | 0
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION CLOUDY DAY, MARCH 5
CASE 600 OR 900
WEST SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | Wh/m2 |  |  | Btu/hft2
= | = | = | =
1 | 0 |  |  | 0
2 | 0 |  |  | 0
3 | 0 |  |  | 0
4 | 0 |  |  | 0
5 | 0 |  |  | 0
6 | 0 |  |  | 0
7 | 1.7969 |  |  | 0.57
8 | 13.997 |  |  | 4.44
9 | 32.0607 |  |  | 10.17
10 | 45.5849 |  |  | 14.46
11 | 57.0914 |  |  | 18.11
12 | 62.0093 |  |  | 19.67
13 | 63.9323 |  |  | 20.28
14 | 61.3157 |  |  | 19.45
15 | 51.0702 |  |  | 16.2
16 | 36.2535 |  |  | 11.5
17 | 15.9515 |  |  | 5.06
18 | 2.3328 |  |  | 0.74
19 | 0 |  |  | 0
20 | 0 |  |  | 0
21 | 0 |  |  | 0
22 | 0 |  |  | 0
23 | 0 |  |  | 0
24 | 0 |  |  | 0
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION, CLEAR DAY, JULY 27
CASE 600
SOUTH SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | Wh/m2 |  |  | Btu/hft2
= | = | = | =
1 | 0 |  |  | 0
2 | 0 |  |  | 0
3 | 0 |  |  | 0
4 | 0 |  |  | 0
5 | 0 |  |  | 0
6 | 21.2477 |  |  | 6.74
7 | 73.5158 |  |  | 23.32
8 | 110.8727 |  |  | 35.17
9 | 212.6348 |  |  | 67.45
10 | 334.3836 |  |  | 106.07
11 | 425.837 |  |  | 135.08
12 | 465.2115 |  |  | 147.57
13 | 478.3888 |  |  | 151.75
14 | 433.7497 |  |  | 137.59
15 | 357.5858 |  |  | 113.43
16 | 238.7688 |  |  | 75.74
17 | 121.8749 |  |  | 38.66
18 | 71.7189 |  |  | 22.75
19 | 20.5226 |  |  | 6.51
20 | 0 |  |  | 0
21 | 0 |  |  | 0
22 | 0 |  |  | 0
23 | 0 |  |  | 0
24 | 0 |  |  | 0
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION, CLEAR DAY, JULY 27
CASE 600
WEST SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | Wh/m2 |  |  | Btu/hft2
= | = | = | =
1 | 0 |  |  | 0
2 | 0 |  |  | 0
3 | 0 |  |  | 0
4 | 0 |  |  | 0
5 | 0 |  |  | 0
6 | 21.1531 |  |  | 6.71
7 | 69.323 |  |  | 21.99
8 | 100.7533 |  |  | 31.96
9 | 119.0376 |  |  | 37.76
10 | 130.2605 |  |  | 41.32
11 | 139.6233 |  |  | 44.29
12 | 142.5236 |  |  | 45.21
13 | 244.3172 |  |  | 77.5
14 | 461.9644 |  |  | 146.54
15 | 662.0838 |  |  | 210.02
16 | 782.6662 |  |  | 248.27
17 | 651.7752 |  |  | 206.75
18 | 231.928 |  |  | 73.57
19 | 38.3342 |  |  | 12.16
20 | 0 |  |  | 0
21 | 0 |  |  | 0
22 | 0 |  |  | 0
23 | 0 |  |  | 0
24 | 0 |  |  | 0
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 600FF JAN 4
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | TEMP (C) |  |  | °F
= | = | = | =
1 | -8.3333 |  |  | 17
2 | -9.9444 |  |  | 14.1
3 | -11.2222 |  |  | 11.8
4 | -12.1667 |  |  | 10.1
5 | -13 |  |  | 8.6
6 | -13.8333 |  |  | 7.1
7 | -14.5556 |  |  | 5.8
8 | -14.8333 |  |  | 5.3
9 | -10.9444 |  |  | 12.3
10 | -4.3333 |  |  | 24.2
11 | 6.0556 |  |  | 42.9
12 | 15.5 |  |  | 59.9
13 | 23.7778 |  |  | 74.8
14 | 30.3333 |  |  | 86.6
15 | 34.3889 |  |  | 93.9
16 | 34.2222 |  |  | 93.6
17 | 28.1111 |  |  | 82.6
18 | 21.6111 |  |  | 70.9
19 | 16.3333 |  |  | 61.4
20 | 12.0556 |  |  | 53.7
21 | 8.4444 |  |  | 47.2
22 | 5.5 |  |  | 41.9
23 | 3 |  |  | 37.4
24 | 0.83333 |  |  | 33.5
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 900FF JAN 4
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | TEMP (C) |  |  | °F
= | = | = | =
1 | 2.4444 |  |  | 36.4
2 | 1.7778 |  |  | 35.2
3 | 1.3333 |  |  | 34.4
4 | 0.83333 |  |  | 33.5
5 | 0.38889 |  |  | 32.7
6 | -0.11111 |  |  | 31.8
7 | -0.55556 |  |  | 31
8 | -0.94444 |  |  | 30.3
9 | 0.22222 |  |  | 32.4
10 | 2 |  |  | 35.6
11 | 5.0556 |  |  | 41.1
12 | 7.3889 |  |  | 45.3
13 | 9.4444 |  |  | 49
14 | 11.1667 |  |  | 52.1
15 | 12 |  |  | 53.6
16 | 11.7778 |  |  | 53.2
17 | 9.8333 |  |  | 49.7
18 | 8.3333 |  |  | 47
19 | 7.5 |  |  | 45.5
20 | 6.8889 |  |  | 44.4
21 | 6.2778 |  |  | 43.3
22 | 5.8333 |  |  | 42.5
23 | 5.3333 |  |  | 41.6
24 | 4.8333 |  |  | 40.7
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 650FF JULY 27
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | TEMP (C) |  |  | °F
= | = | = | =
1 | 22.5556 |  |  | 72.6
2 | 21.6111 |  |  | 70.9
3 | 20.7778 |  |  | 69.4
4 | 20.1111 |  |  | 68.2
5 | 19.7778 |  |  | 67.6
6 | 20.3333 |  |  | 68.6
7 | 22.7222 |  |  | 72.9
8 | 25.1667 |  |  | 77.3
9 | 28.5 |  |  | 83.3
10 | 32.2222 |  |  | 90
11 | 36.4444 |  |  | 97.6
12 | 40.7778 |  |  | 105.4
13 | 44.3889 |  |  | 111.9
14 | 46.9444 |  |  | 116.5
15 | 48.5556 |  |  | 119.4
16 | 48.7778 |  |  | 119.8
17 | 48.1667 |  |  | 118.7
18 | 46.1667 |  |  | 115.1
19 | 33.3333 |  |  | 92
20 | 30.5556 |  |  | 87
21 | 28.5 |  |  | 83.3
22 | 26.5 |  |  | 79.7
23 | 25.7222 |  |  | 78.3
24 | 24.2222 |  |  | 75.6
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 950FF JULY 27
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | TEMP (C) |  |  | °F
= | = | = | =
1 | 24.5 |  |  | 76.1
2 | 23.8889 |  |  | 75
3 | 23.3333 |  |  | 74
4 | 22.7778 |  |  | 73
5 | 22.5 |  |  | 72.5
6 | 22.8889 |  |  | 73.2
7 | 24.5556 |  |  | 76.2
8 | 27.1111 |  |  | 80.8
9 | 28.1667 |  |  | 82.7
10 | 29.2778 |  |  | 84.7
11 | 30.5 |  |  | 86.9
12 | 31.8333 |  |  | 89.3
13 | 32.8889 |  |  | 91.2
14 | 33.6111 |  |  | 92.5
15 | 34.0556 |  |  | 93.3
16 | 34.1111 |  |  | 93.4
17 | 34.1111 |  |  | 93.4
18 | 33.6667 |  |  | 92.6
19 | 29.8889 |  |  | 85.8
20 | 29 |  |  | 84.2
21 | 28.2222 |  |  | 82.8
22 | 27.1667 |  |  | 80.9
23 | 26.8889 |  |  | 80.4
24 | 25.8333 |  |  | 78.5
= | = | = | =
HOURLY HEATING & COOLING LOAD DATA (COLUMN B ONLY)
CASE 600 JAN 4 | [5 empty] | Enter Data Below
[USE (-) FOR COOLING] | [5 empty] | Input from HOURLY report:
PROGRAM: | [5 empty] | Tot Zone | Tot Cooling | Tot Heating
VERSION: | [5 empty] | Htg Pwr | Coil Pwr | Coil Pwr
HOUR | kWh |  |  | Btu/h |  | Btu/h | Btu/h | Btu/h
= | = | = | =
1 | 3.5069 |  |  | -11965 |  | -11965 | 0 | 0
2 | 3.6315 |  |  | -12390 |  | -12390 | 0 | 0
3 | 3.6394 |  |  | -12417 |  | -12417 | 0 | 0
4 | 3.681 |  |  | -12559 |  | -12559 | 0 | 0
5 | 3.6963 |  |  | -12611 |  | -12611 | 0 | 0
6 | 3.6992 |  |  | -12621 |  | -12621 | 0 | 0
7 | 3.7147 |  |  | -12674 |  | -12674 | 0 | 0
8 | 3.5193 |  |  | -12007 |  | -12007 | 0 | 0
9 | 2.1593 |  |  | -7367 |  | -7367 | 0 | 0
10 | 0.42441 |  |  | -1448 |  | -1448 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0
12 | -2.0104 |  |  | 6859 |  | 0 | 6859 | 0
13 | -3.2645 |  |  | 11138 |  | 0 | 11138 | 0
14 | -3.7769 |  |  | 12886 |  | 0 | 12886 | 0
15 | -3.5659 |  |  | 12166 |  | 0 | 12166 | 0
16 | -2.3123 |  |  | 7889 |  | 0 | 7889 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0
19 | 1.4945 |  |  | -5099 |  | -5099 | 0 | 0
20 | 2.2539 |  |  | -7690 |  | -7690 | 0 | 0
21 | 2.6898 |  |  | -9177 |  | -9177 | 0 | 0
22 | 2.9032 |  |  | -9905 |  | -9905 | 0 | 0
23 | 2.9817 |  |  | -10173 |  | -10173 | 0 | 0
24 | 3.0644 |  |  | -10455 |  | -10455 | 0 | 0
= | = | = | =
HOURLY HEATING & COOLING LOAD DATA (COLUMN B ONLY)
CASE 900 JAN 4 | [5 empty] | Enter Data Below
[USE (-) FOR COOLING] | [5 empty] | Input from HOURLY report:
PROGRAM: | [5 empty] | Tot Zone | Tot Cooling | Tot Heating
VERSION: | [5 empty] | Htg Pwr | Coil Pwr | Coil Pwr
HOUR | kWh |  |  | Btu/h |  | Btu/h | Btu/h | Btu/h
= | = | = | =
1 | 2.7692 |  |  | -9448 |  | -9448 | 0 | 0
2 | 2.907 |  |  | -9918 |  | -9918 | 0 | 0
3 | 2.9627 |  |  | -10108 |  | -10108 | 0 | 0
4 | 3.0588 |  |  | -10436 |  | -10436 | 0 | 0
5 | 3.1268 |  |  | -10668 |  | -10668 | 0 | 0
6 | 3.1813 |  |  | -10854 |  | -10854 | 0 | 0
7 | 3.2426 |  |  | -11063 |  | -11063 | 0 | 0
8 | 3.1942 |  |  | -10898 |  | -10898 | 0 | 0
9 | 2.564 |  |  | -8748 |  | -8748 | 0 | 0
10 | 1.7196 |  |  | -5867 |  | -5867 | 0 | 0
11 | 0.425 |  |  | -1450 |  | -1450 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0
19 | 0.47687 |  |  | -1627 |  | -1627 | 0 | 0
20 | 0.81628 |  |  | -2785 |  | -2785 | 0 | 0
21 | 1.1182 |  |  | -3815 |  | -3815 | 0 | 0
22 | 1.3421 |  |  | -4579 |  | -4579 | 0 | 0
23 | 1.5118 |  |  | -5158 |  | -5158 | 0 | 0
24 | 1.6997 |  |  | -5799 |  | -5799 | 0 | 0
= | = | = | =
FREE-FLOAT CASES
HOURLY ANNUAL ZONE TEMPERATURE BIN DATA
CASE 900FF |  |  | Imported from 900FF-22.BND (or 900FF-eQ.BND)
(USE COLUMN B ONLY) |  |  | 900FF-22.BND (or 900FF-eQ.BND) from 900FF-22.T (or 900FF-eQ.T) using TMPBIN.EXE
PROGRAM: |  |  | 900FF-22.T (or 900FF-eQ.T) from 900FF-22.SIT (or 900FF-eQ.SIT) using TMPOUT22.BAS (run in GWBASIC.EXE) for DOE-2.2 or TMPOUTeQ.BAS for eQUEST
VERSION: |  |  |  | For eQUEST TMPOUTeQ.BAS must be run in same directory as 900ff-eQ.SIT (recommend project subfolder); for 2.2 do everything in c:\DOE22
TEMP (C) | # HOURS |  | 900FF-22.SIT (or 900FF-eQ.SIT) is 900FF-22.SIM (or 900FF-eQ.SIM) with beginning non-hourly data deleted manually.
= | = | = | =
-50 | 0 |  | -50 | 0
-49 | 0 |  | -49 | 0
-48 | 0 |  | -48 | 0
-47 | 0 |  | -47 | 0
-46 | 0 |  | -46 | 0
-45 | 0 |  | -45 | 0
-44 | 0 |  | -44 | 0
-43 | 0 |  | -43 | 0
-42 | 0 |  | -42 | 0
-41 | 0 |  | -41 | 0
-40 | 0 |  | -40 | 0
-39 | 0 |  | -39 | 0
-38 | 0 |  | -38 | 0
-37 | 0 |  | -37 | 0
-36 | 0 |  | -36 | 0
-35 | 0 |  | -35 | 0
-34 | 0 |  | -34 | 0
-33 | 0 |  | -33 | 0
-32 | 0 |  | -32 | 0
-31 | 0 |  | -31 | 0
-30 | 0 |  | -30 | 0
-29 | 0 |  | -29 | 0
-28 | 0 |  | -28 | 0
-27 | 0 |  | -27 | 0
-26 | 0 |  | -26 | 0
-25 | 0 |  | -25 | 0
-24 | 0 |  | -24 | 0
-23 | 0 |  | -23 | 0
-22 | 0 |  | -22 | 0
-21 | 0 |  | -21 | 0
-20 | 0 |  | -20 | 0
-19 | 0 |  | -19 | 0
-18 | 0 |  | -18 | 0
-17 | 0 |  | -17 | 0
-16 | 0 |  | -16 | 0
-15 | 0 |  | -15 | 0
-14 | 0 |  | -14 | 0
-13 | 0 |  | -13 | 0
-12 | 0 |  | -12 | 0
-11 | 0 |  | -11 | 0
-10 | 0 |  | -10 | 0
-9 | 0 |  | -9 | 0
-8 | 0 |  | -8 | 0
-7 | 0 |  | -7 | 0
-6 | 0 |  | -6 | 0
-5 | 0 |  | -5 | 0
-4 | 0 |  | -4 | 0
-3 | 0 |  | -3 | 0
-2 | 0 |  | -2 | 0
-1 | 3 |  | -1 | 3
0 | 7 |  | 0 | 7
1 | 5 |  | 1 | 5
2 | 9 |  | 2 | 9
3 | 18 |  | 3 | 18
4 | 13 |  | 4 | 13
5 | 23 |  | 5 | 23
6 | 18 |  | 6 | 18
7 | 20 |  | 7 | 20
8 | 28 |  | 8 | 28
9 | 34 |  | 9 | 34
10 | 37 |  | 10 | 37
11 | 51 |  | 11 | 51
12 | 70 |  | 12 | 70
13 | 79 |  | 13 | 79
14 | 114 |  | 14 | 114
15 | 136 |  | 15 | 136
16 | 157 |  | 16 | 157
17 | 169 |  | 17 | 169
18 | 203 |  | 18 | 203
19 | 274 |  | 19 | 274
20 | 297 |  | 20 | 297
21 | 368 |  | 21 | 368
22 | 325 |  | 22 | 325
23 | 388 |  | 23 | 388
24 | 423 |  | 24 | 423
25 | 374 |  | 25 | 374
26 | 420 |  | 26 | 420
27 | 413 |  | 27 | 413
28 | 444 |  | 28 | 444
29 | 450 |  | 29 | 450
30 | 440 |  | 30 | 440
31 | 452 |  | 31 | 452
32 | 420 |  | 32 | 420
33 | 375 |  | 33 | 375
34 | 343 |  | 34 | 343
35 | 320 |  | 35 | 320
36 | 276 |  | 36 | 276
37 | 190 |  | 37 | 190
38 | 184 |  | 38 | 184
39 | 139 |  | 39 | 139
40 | 104 |  | 40 | 104
41 | 76 |  | 41 | 76
42 | 44 |  | 42 | 44
43 | 18 |  | 43 | 18
44 | 8 |  | 44 | 8
45 | 1 |  | 45 | 1
46 | 0 |  | 46 | 0
47 | 0 |  | 47 | 0
48 | 0 |  | 48 | 0
49 | 0 |  | 49 | 0
50 | 0 |  | 50 | 0
51 | 0 |  | 51 | 0
52 | 0 |  | 52 | 0
53 | 0 |  | 53 | 0
54 | 0 |  | 54 | 0
55 | 0 |  | 55 | 0
56 | 0 |  | 56 | 0
57 | 0 |  | 57 | 0
58 | 0 |  | 58 | 0
59 | 0 |  | 59 | 0
60 | 0 |  | 60 | 0
61 | 0 |  | 61 | 0
62 | 0 |  | 62 | 0
63 | 0 |  | 63 | 0
64 | 0 |  | 64 | 0
65 | 0 |  | 65 | 0
66 | 0 |  | 66 | 0
67 | 0 |  | 67 | 0
68 | 0 |  | 68 | 0
69 | 0 |  | 69 | 0
70 | 0 |  | 70 | 0
71 | 0 |  | 71 | 0
72 | 0 |  | 72 | 0
73 | 0 |  | 73 | 0
74 | 0 |  | 74 | 0
75 | 0 |  | 75 | 0
76 | 0 |  | 76 | 0
77 | 0 |  | 77 | 0
78 | 0 |  | 78 | 0
79 | 0 |  | 79 | 0
80 | 0 |  | 80 | 0
81 | 0 |  | 81 | 0
82 | 0 |  | 82 | 0
83 | 0 |  | 83 | 0
84 | 0 |  | 84 | 0
85 | 0 |  | 85 | 0
86 | 0 |  | 86 | 0
87 | 0 |  | 87 | 0
88 | 0 |  | 88 | 0
89 | 0 |  | 89 | 0
90 | 0 |  | 90 | 0
91 | 0 |  | 91 | 0
92 | 0 |  | 92 | 0
93 | 0 |  | 93 | 0
94 | 0 |  | 94 | 0
95 | 0 |  | 95 | 0
96 | 0 |  | 96 | 0
97 | 0 |  | 97 | 0
98 | 0 |  | 98 | 0
= | = | = | =
= | = | = | =
= | = | = | =
= | = | = | =