STANDARD 140 OUTPUT FORM - MODELING NOTES

INSTRUCTIONS: See Annex A2.

SOFTWARE: DOE-2.2

VERSION: 48y (also used in eQUEST v3.65)

DOCUMENT BELOW THE MODELING METHODS USED IF ALTERNATIVE MODELING

METHODS OR ALGORITHMS ARE AVAILABLE IN THE SOFTWARE BEING TESTED.

(See Annex A2 for examples.)

Simulated Effect:

Window

Optional Settings or Modeling Capabilities:

DOE-2.2 offers a number of ways to model windows, including in order of increasing detail relative to the BESTEST spec: simplified shading-coefficient (SHADING-COEF) and glass conductance model, DOE-2’s window library, direct input of each model layer (WINDOW-LAYERS), or input to WINDOW-5 with WINDOW-5 output imported to the DOE-2 window library.

Setting or Capability Used:

WINDOW-LAYERS

Physical Meaning of Option Used:

Angular dependence of optical properties is accurately modeled. Conduction calculation includes natural convection between window panes. Sensitivity test of SHADING-COEF versus WINDOW-LAYERS yielded 1.6% higher Case-600 cooling loads (greater disagreement versus other models) for SHADING-COEF than for WINDOW-LAYERS; conduction difference between the two models is only 788%.