## A
STANDARD 140 OUTPUT FORM - RESULTS |  |  |  |  | Sec5-2out.XLS
INSTRUCTIONS:
1) Use specified units.
2) All radiation data is for sum of direct and diffuse solar radiation.
3) Format dates using the appropriate two-digit date followed by a three-digit
month code and two-digit hour code (24 hour clock), as shown below.
MONTH |  | CODE
January |  | Jan
February |  | Feb
March |  | Mar
April |  | Apr
May |  | May
June |  | Jun
July |  | Jul
August |  | Aug
September |  | Sep
October |  | Oct
November |  | Nov
December |  | Dec
For example, a peak occuring on Jan 4 during the 15th hour interval (2-3 PM),
should be input as:
DATE HOUR
04-Jan 15
4) Data entry is restricted to Column B or Columns B,C,D. Enter appropriate
output in the proper column(s) for the case or hour listed in column A. This
worksheet extends down to Row 901. Note that the protection option has been
used in this worksheet to help assure that data is input to the correct cells.
eQUEST 3.65 |  | JJH
eQUEST 3.65, build 7173 (contains DOE-2.2 version 48y), J.J. Hirsch & Assoc., April 16, 2016
ANNUAL HEATING LOADS (COLUMN B)
PROGRAM:
VERSION: |  | Input from ss-a as positive value
CASE# | MWh | MBtu
600 | 4.2124 | 14.372
610 | 4.3092 | 14.702
620 | 4.553 | 15.534
630 | 4.9982 | 17.053
640 | 2.3709 | 8.089
650 | 0 | 0
900 | 1.1193 | 3.819
910 | 1.3609 | 4.643
920 | 3.0547 | 10.422
930 | 3.9686 | 13.54
940 | 0.71692 | 2.446
950 | 0 | 0
960 | 2.2645 | 7.726
195 | 4.6917 | 16.007
200
210
215 | 6.2337 | 21.268
220 | 7.6807 | 26.205
230 | 11.1319 | 37.98
240 | 6.3946 | 21.817
250 | 6.0786 | 20.739
270 | 4.5117 | 15.393
280 | 5.1301 | 17.503
290 | 4.628 | 15.79
300 | 4.798 | 16.37
310 | 5.2403 | 17.879
320 | 3.6878 | 12.582
395 | 5.4165 | 18.48
400 | 7.6118 | 25.97
410 | 9.2722 | 31.635
420 | 7.9653 | 27.176
430 | 6.1319 | 20.921
440 | 4.6521 | 15.872
800 | 5.3206 | 18.153
810 | 1.9661 | 6.708
ANNUAL COOLING LOADS (COLUMN B)
PROGRAM:
VERSION: |  | Input from ss-a as positive value
CASE# | MWh | MBtu
600 | 7.5898 | 25.895
610 | 5.5091 | 18.796
620 | 4.9944 | 17.04
630 | 3.0453 | 10.39
640 | 7.1827 | 24.506
650 | 6.0379 | 20.6
900 | 3.5406 | 12.08
910 | 1.8905 | 6.45
920 | 3.2575 | 11.114
930 | 1.8627 | 6.355
940 | 3.4322 | 11.71
950 | 0.78873 | 2.691
960 | 0.8327 | 2.841
195 | 0.58004 | 1.979
200
210
215 | 0.88516 | 3.02
220 | 0.54224 | 1.85
230 | 0.83768 | 2.858
240 | 0.8623 | 2.942
250 | 2.513 | 8.574
270 | 9.2631 | 31.604
280 | 5.986 | 20.423
290 | 7.1065 | 24.246
300 | 6.2923 | 21.468
310 | 3.9695 | 13.543
320 | 6.4048 | 21.852
395 | 0.0002931 | 0.001
400 | 0.0079137 | 0.027
410 | 0.019638 | 0.067
420 | 0.078551 | 0.268
430 | 0.95199 | 3.248
440 | 4.8376 | 16.505
800 | 0.30453 | 1.039
810 | 1.6809 | 5.735
ANNUAL HOURLY INTEGRATED PEAK HEATING LOADS (COLUMNS B,C,D)
PROGRAM:
VERSION: |  |  |  | Input from ss-a as positive value
CASE# | kW | DATE | TIME | kBtu/h
600 | 3.6037 | 2016-01-04 | 7 | 12.295
610 | 3.5925 | 2016-01-04 | 7 | 12.257
620 | 3.6412 | 2016-01-04 | 7 | 12.423
630 | 3.6213 | 2016-01-04 | 7 | 12.355
640 | 5.6375 | 2016-01-04 | 8 | 19.234
650 | 0 |  |  | 0
900 | 3.1356 | 2016-01-04 | 7 | 10.698
910 | 3.1432 | 2016-01-04 | 7 | 10.724
920 | 3.3885 | 2016-01-04 | 7 | 11.561
930 | 3.4149 | 2016-01-04 | 7 | 11.651
940 | 5.2603 | 2016-01-04 | 8 | 17.947
950 | 0 |  |  | 0
960 | 2.5749 | 2016-01-04 | 8 | 8.785
195 | 2.1434 | 2016-01-04 | 7 | 7.313
200
210
215 | 2.972 | 2016-01-04 | 5 | 10.14
220 | 3.2437 | 2016-01-04 | 5 | 11.067
230 | 4.7444 | 2016-01-04 | 2 | 16.187
240 | 3.0606 | 2016-01-04 | 5 | 10.442
250 | 3.2408 | 2016-01-04 | 5 | 11.057
270 | 3.0406 | 2016-01-04 | 7 | 10.374
280 | 3.0635 | 2016-01-04 | 7 | 10.452
290 | 3.0292 | 2016-01-04 | 7 | 10.335
300 | 3.0755 | 2016-01-04 | 7 | 10.493
310 | 3.0567 | 2016-01-04 | 5 | 10.429
320 | 3.0421 | 2016-01-04 | 7 | 10.379
395 | 2.2912 | 2016-01-04 | 3 | 7.817
400 | 3.2537 | 2016-01-04 | 5 | 11.101
410 | 3.9929 | 2016-01-04 | 5 | 13.623
420 | 3.8097 | 2016-01-04 | 5 | 12.998
430 | 3.8065 | 2016-01-04 | 5 | 12.987
440 | 3.6248 | 2016-01-04 | 7 | 12.367
800 | 3.6309 | 2016-01-04 | 7 | 12.388
810 | 3.2728 | 2016-01-04 | 7 | 11.166
ANNUAL HOURLY INTEGRATED PEAK COOLING LOADS (COLUMNS B,C,D)
PROGRAM:
VERSION: |  |  |  | Input from ss-a as positive value
CASE# | kW | DATE | TIME | kBtu/h
600 | 6.6074 | 2016-10-16 | 14 | 22.543
610 | 6.1164 | 2016-01-13 | 14 | 20.868
620 | 4.5545 | 2016-07-26 | 17 | 15.539
630 | 3.7455 | 2016-07-26 | 17 | 12.779
640 | 6.5273 | 2016-10-16 | 14 | 22.27
650 | 6.4145 | 2016-10-16 | 14 | 21.885
900 | 3.873 | 2016-10-17 | 14 | 13.214
910 | 3.0679 | 2016-10-17 | 15 | 10.467
920 | 3.3674 | 2016-07-26 | 17 | 11.489
930 | 2.671 | 2016-07-26 | 17 | 9.113
940 | 3.873 | 2016-10-17 | 14 | 13.214
950 | 2.9416 | 2016-09-02 | 15 | 10.036
960 | 1.382 | 2016-07-26 | 16 | 4.715
195 | 0.87696 | 2016-07-26 | 16 | 2.992
200
210
215 | 1.2178 | 2016-07-26 | 15 | 4.155
220 | 1.0174 | 2016-07-27 | 15 | 3.471
230 | 1.5259 | 2016-07-27 | 15 | 5.206
240 | 1.2005 | 2016-07-27 | 15 | 4.096
250 | 2.3325 | 2016-08-26 | 14 | 7.958
270 | 6.7214 | 2016-01-13 | 14 | 22.932
280 | 4.6893 | 2016-10-16 | 13 | 15.999
290 | 6.6041 | 2016-01-13 | 14 | 22.532
300 | 4.3042 | 2016-07-26 | 17 | 14.685
310 | 3.4762 | 2016-07-26 | 17 | 11.86
320 | 6.0771 | 2016-01-13 | 14 | 20.734
395 | 0.10083 | 2016-07-27 | 17 | 0.344
400 | 0.34293 | 2016-07-27 | 17 | 1.17
410 | 0.48215 | 2016-07-27 | 16 | 1.645
420 | 0.73041 | 2016-07-27 | 15 | 2.492
430 | 1.984 | 2016-08-26 | 14 | 6.769
440 | 4.8271 | 2016-10-16 | 14 | 16.469
800 | 1.2466 | 2016-08-16 | 14 | 4.253
810 | 2.6731 | 2016-09-02 | 14 | 9.12
FREE-FLOAT CASE TEMPERATURE OUTPUT
MAX ANNUAL HOURLY ZONE TEMP (COLUMNS B,C,D)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report Yearly summary
CASE# | TEMP (C) | DATE | TIME | °F
600FF | 68.4444 | 2016-10-17 | 15 | 155.2
900FF | 45.6111 | 2016-10-17 | 15 | 114.1
650FF | 65.5556 | 2016-10-17 | 15 | 150
950FF | 36.7778 | 2016-09-02 | 15 | 98.2
960 | 52.4444 | 2016-10-17 | 15 | 126.4
MIN ANNUAL HOURLY ZONE TEMP
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report Yearly summary
CASE# | TEMP (C) | DATE | TIME | °F
600FF | -14.5 | 2016-01-04 | 8 | 5.9
900FF | -0.33333 | 2016-01-04 | 8 | 31.4
650FF | -16.9444 | 2016-01-04 | 8 | 1.5
950FF | -13.7778 | 2016-01-04 | 7 | 7.2
960 | 7.2778 | 2016-02-06 | 7 | 45.1
AVG ANNUAL HOURLY ZONE TEMP (COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report Yearly summary
CASE# | TEMP (C) |  |  | °F
600FF | 27.5 |  |  | 81.5
900FF | 27.5556 |  |  | 81.6
650FF | 20.6111 |  |  | 69.1
950FF | 16.1111 |  |  | 61
960 | 30.9444 |  |  | 87.7
SOLAR RADIATION
ANNUAL INCIDENT TOTAL
CASE 600
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  | from annrad-rep
SURFACE | kWh/m2 | Btu/hft2
= | = | = | =
NORTH | 450.5932 | 142837.28
EAST | 1166.607 | 369812.44
WEST | 1089.6687 | 345423.13
SOUTH | 1580.3701 | 500974.63
HORZ. | 1832.076 | 580765
= | = | = | =
SOLAR RADIATION
UNSHADED ANNUAL TRANSMITTED
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  | from annrad-rep
CASE# | kWh/m2 | Btu/hft2
= | = | = | =
920WEST | 685.7239 | 217373.3
900SOUTH | 975.5393 | 309244.3
= | = | = | =
SOLAR RADIATION
SHADED ANNUAL TRANSMITTED
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  | from annrad-rep
CASE# | kWh/m2 | Btu/hft2
= | = | = | =
930WEST | 452.9169 | 143573.9
910SOUTH | 786.96 | 249465
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION CLOUDY DAY, MARCH 5
CASE 600 OR 900
SOUTH SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | Wh/m2 |  |  | Btu/hft2
= | = | = | =
1 | 0 |  |  | 0
2 | 0 |  |  | 0
3 | 0 |  |  | 0
4 | 0 |  |  | 0
5 | 0 |  |  | 0
6 | 0 |  |  | 0
7 | 1.4817 |  |  | 0.47
8 | 12.4523 |  |  | 3.95
9 | 29.4442 |  |  | 9.34
10 | 45.6164 |  |  | 14.47
11 | 58.5731 |  |  | 18.58
12 | 64.2791 |  |  | 20.39
13 | 66.1706 |  |  | 20.99
14 | 62.3245 |  |  | 19.77
15 | 51.1332 |  |  | 16.22
16 | 36.6003 |  |  | 11.61
17 | 18.9149 |  |  | 6
18 | 4.6026 |  |  | 1.46
19 | 0 |  |  | 0
20 | 0 |  |  | 0
21 | 0 |  |  | 0
22 | 0 |  |  | 0
23 | 0 |  |  | 0
24 | 0 |  |  | 0
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION CLOUDY DAY, MARCH 5
CASE 600 OR 900
WEST SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | Wh/m2 |  |  | Btu/hft2
= | = | = | =
1 | 0 |  |  | 0
2 | 0 |  |  | 0
3 | 0 |  |  | 0
4 | 0 |  |  | 0
5 | 0 |  |  | 0
6 | 0 |  |  | 0
7 | 1.7969 |  |  | 0.57
8 | 13.997 |  |  | 4.44
9 | 32.0607 |  |  | 10.17
10 | 45.5849 |  |  | 14.46
11 | 57.0914 |  |  | 18.11
12 | 62.0093 |  |  | 19.67
13 | 63.9323 |  |  | 20.28
14 | 61.3157 |  |  | 19.45
15 | 51.0702 |  |  | 16.2
16 | 36.2535 |  |  | 11.5
17 | 15.9515 |  |  | 5.06
18 | 2.3328 |  |  | 0.74
19 | 0 |  |  | 0
20 | 0 |  |  | 0
21 | 0 |  |  | 0
22 | 0 |  |  | 0
23 | 0 |  |  | 0
24 | 0 |  |  | 0
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION, CLEAR DAY, JULY 27
CASE 600
SOUTH SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | Wh/m2 |  |  | Btu/hft2
= | = | = | =
1 | 0 |  |  | 0
2 | 0 |  |  | 0
3 | 0 |  |  | 0
4 | 0 |  |  | 0
5 | 0 |  |  | 0
6 | 21.2477 |  |  | 6.74
7 | 73.5158 |  |  | 23.32
8 | 110.8727 |  |  | 35.17
9 | 212.6348 |  |  | 67.45
10 | 334.3836 |  |  | 106.07
11 | 425.837 |  |  | 135.08
12 | 465.2115 |  |  | 147.57
13 | 478.3888 |  |  | 151.75
14 | 433.7497 |  |  | 137.59
15 | 357.5858 |  |  | 113.43
16 | 238.7688 |  |  | 75.74
17 | 121.8749 |  |  | 38.66
18 | 71.7189 |  |  | 22.75
19 | 20.5226 |  |  | 6.51
20 | 0 |  |  | 0
21 | 0 |  |  | 0
22 | 0 |  |  | 0
23 | 0 |  |  | 0
24 | 0 |  |  | 0
= | = | = | =
HOURLY INCIDENT SOLAR RADIATION, CLEAR DAY, JULY 27
CASE 600
WEST SURFACE
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | Wh/m2 |  |  | Btu/hft2
= | = | = | =
1 | 0 |  |  | 0
2 | 0 |  |  | 0
3 | 0 |  |  | 0
4 | 0 |  |  | 0
5 | 0 |  |  | 0
6 | 21.1531 |  |  | 6.71
7 | 69.323 |  |  | 21.99
8 | 100.7533 |  |  | 31.96
9 | 119.0376 |  |  | 37.76
10 | 130.2605 |  |  | 41.32
11 | 139.6233 |  |  | 44.29
12 | 142.5236 |  |  | 45.21
13 | 244.3172 |  |  | 77.5
14 | 461.9644 |  |  | 146.54
15 | 662.0838 |  |  | 210.02
16 | 782.6662 |  |  | 248.27
17 | 651.7752 |  |  | 206.75
18 | 231.928 |  |  | 73.57
19 | 38.3342 |  |  | 12.16
20 | 0 |  |  | 0
21 | 0 |  |  | 0
22 | 0 |  |  | 0
23 | 0 |  |  | 0
24 | 0 |  |  | 0
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 600FF JAN 4
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | TEMP (C) |  |  | °F
= | = | = | =
1 | -7.8889 |  |  | 17.8
2 | -9.5556 |  |  | 14.8
3 | -10.7778 |  |  | 12.6
4 | -11.7778 |  |  | 10.8
5 | -12.6667 |  |  | 9.2
6 | -13.5 |  |  | 7.7
7 | -14.2222 |  |  | 6.4
8 | -14.5 |  |  | 5.9
9 | -10.6111 |  |  | 12.9
10 | -4.0556 |  |  | 24.7
11 | 6.3889 |  |  | 43.5
12 | 15.8889 |  |  | 60.6
13 | 24.2222 |  |  | 75.6
14 | 30.8333 |  |  | 87.5
15 | 34.9444 |  |  | 94.9
16 | 34.8889 |  |  | 94.8
17 | 28.8333 |  |  | 83.9
18 | 22.3333 |  |  | 72.2
19 | 17.1111 |  |  | 62.8
20 | 12.8333 |  |  | 55.1
21 | 9.1667 |  |  | 48.5
22 | 6.1667 |  |  | 43.1
23 | 3.6667 |  |  | 38.6
24 | 1.4444 |  |  | 34.6
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 900FF JAN 4
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | TEMP (C) |  |  | °F
= | = | = | =
1 | 3.0556 |  |  | 37.5
2 | 2.4444 |  |  | 36.4
3 | 1.9444 |  |  | 35.5
4 | 1.5 |  |  | 34.7
5 | 1 |  |  | 33.8
6 | 0.5 |  |  | 32.9
7 | 0.055556 |  |  | 32.1
8 | -0.33333 |  |  | 31.4
9 | 0.83333 |  |  | 33.5
10 | 2.6111 |  |  | 36.7
11 | 5.6111 |  |  | 42.1
12 | 8 |  |  | 46.4
13 | 10.0556 |  |  | 50.1
14 | 11.7222 |  |  | 53.1
15 | 12.5556 |  |  | 54.6
16 | 12.3333 |  |  | 54.2
17 | 10.4444 |  |  | 50.8
18 | 8.9444 |  |  | 48.1
19 | 8.1111 |  |  | 46.6
20 | 7.5 |  |  | 45.5
21 | 6.8889 |  |  | 44.4
22 | 6.4444 |  |  | 43.6
23 | 5.9444 |  |  | 42.7
24 | 5.4444 |  |  | 41.8
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 650FF JULY 27
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | TEMP (C) |  |  | °F
= | = | = | =
1 | 22.5556 |  |  | 72.6
2 | 21.6111 |  |  | 70.9
3 | 20.8333 |  |  | 69.5
4 | 20.1111 |  |  | 68.2
5 | 19.7778 |  |  | 67.6
6 | 20.3333 |  |  | 68.6
7 | 22.7222 |  |  | 72.9
8 | 25.1667 |  |  | 77.3
9 | 28.4444 |  |  | 83.2
10 | 32.2222 |  |  | 90
11 | 36.3889 |  |  | 97.5
12 | 40.7778 |  |  | 105.4
13 | 44.3889 |  |  | 111.9
14 | 47 |  |  | 116.6
15 | 48.6111 |  |  | 119.5
16 | 48.8333 |  |  | 119.9
17 | 48.2778 |  |  | 118.9
18 | 46.3333 |  |  | 115.4
19 | 33.3889 |  |  | 92.1
20 | 30.5556 |  |  | 87
21 | 28.5 |  |  | 83.3
22 | 26.5 |  |  | 79.7
23 | 25.7222 |  |  | 78.3
24 | 24.2222 |  |  | 75.6
= | = | = | =
HOURLY FREE FLOAT TEMPERATURE DATA
CASE 950FF JULY 27
(USE COLUMN B ONLY)
PROGRAM:
VERSION: |  |  |  | Input from HOURLY report
HOUR | TEMP (C) |  |  | °F
= | = | = | =
1 | 24.5 |  |  | 76.1
2 | 23.8889 |  |  | 75
3 | 23.3333 |  |  | 74
4 | 22.7778 |  |  | 73
5 | 22.5 |  |  | 72.5
6 | 22.8889 |  |  | 73.2
7 | 24.5556 |  |  | 76.2
8 | 27.1111 |  |  | 80.8
9 | 28.1667 |  |  | 82.7
10 | 29.2778 |  |  | 84.7
11 | 30.4444 |  |  | 86.8
12 | 31.7778 |  |  | 89.2
13 | 32.8333 |  |  | 91.1
14 | 33.5556 |  |  | 92.4
15 | 34 |  |  | 93.2
16 | 34.1111 |  |  | 93.4
17 | 34.0556 |  |  | 93.3
18 | 33.6111 |  |  | 92.5
19 | 29.8889 |  |  | 85.8
20 | 29 |  |  | 84.2
21 | 28.2222 |  |  | 82.8
22 | 27.1111 |  |  | 80.8
23 | 26.8889 |  |  | 80.4
24 | 25.8333 |  |  | 78.5
= | = | = | =
HOURLY HEATING & COOLING LOAD DATA (COLUMN B ONLY)
CASE 600 JAN 4 | [5 empty] | Enter Data Below
[USE (-) FOR COOLING] | [5 empty] | Input from HOURLY report:
PROGRAM: | [5 empty] | Tot Zone | Tot Cooling | Tot Heating
VERSION: | [5 empty] | Htg Pwr | Coil Pwr | Coil Pwr
HOUR | kWh |  |  | Btu/h |  | Btu/h | Btu/h | Btu/h
= | = | = | =
1 | 3.4011 |  |  | -11604 |  | -11604 | 0 | 0
2 | 3.5257 |  |  | -12029 |  | -12029 | 0 | 0
3 | 3.538 |  |  | -12071 |  | -12071 | 0 | 0
4 | 3.572 |  |  | -12187 |  | -12187 | 0 | 0
5 | 3.5849 |  |  | -12231 |  | -12231 | 0 | 0
6 | 3.5899 |  |  | -12248 |  | -12248 | 0 | 0
7 | 3.6037 |  |  | -12295 |  | -12295 | 0 | 0
8 | 3.4211 |  |  | -11672 |  | -11672 | 0 | 0
9 | 2.0719 |  |  | -7069 |  | -7069 | 0 | 0
10 | 0.34879 |  |  | -1190 |  | -1190 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0
12 | -2.1124 |  |  | 7207 |  | 0 | 7207 | 0
13 | -3.3431 |  |  | 11406 |  | 0 | 11406 | 0
14 | -3.849 |  |  | 13132 |  | 0 | 13132 | 0
15 | -3.6254 |  |  | 12369 |  | 0 | 12369 | 0
16 | -2.392 |  |  | 8161 |  | 0 | 8161 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0
19 | 1.3474 |  |  | -4597 |  | -4597 | 0 | 0
20 | 2.1335 |  |  | -7279 |  | -7279 | 0 | 0
21 | 2.5761 |  |  | -8789 |  | -8789 | 0 | 0
22 | 2.7932 |  |  | -9530 |  | -9530 | 0 | 0
23 | 2.8821 |  |  | -9833 |  | -9833 | 0 | 0
24 | 2.9679 |  |  | -10126 |  | -10126 | 0 | 0
= | = | = | =
HOURLY HEATING & COOLING LOAD DATA (COLUMN B ONLY)
CASE 900 JAN 4 | [5 empty] | Enter Data Below
[USE (-) FOR COOLING] | [5 empty] | Input from HOURLY report:
PROGRAM: | [5 empty] | Tot Zone | Tot Cooling | Tot Heating
VERSION: | [5 empty] | Htg Pwr | Coil Pwr | Coil Pwr
HOUR | kWh |  |  | Btu/h |  | Btu/h | Btu/h | Btu/h
= | = | = | =
1 | 2.6678 |  |  | -9102 |  | -9102 | 0 | 0
2 | 2.8053 |  |  | -9571 |  | -9571 | 0 | 0
3 | 2.8642 |  |  | -9772 |  | -9772 | 0 | 0
4 | 2.9539 |  |  | -10078 |  | -10078 | 0 | 0
5 | 3.0198 |  |  | -10303 |  | -10303 | 0 | 0
6 | 3.0758 |  |  | -10494 |  | -10494 | 0 | 0
7 | 3.1356 |  |  | -10698 |  | -10698 | 0 | 0
8 | 3.0966 |  |  | -10565 |  | -10565 | 0 | 0
9 | 2.4729 |  |  | -8437 |  | -8437 | 0 | 0
10 | 1.6364 |  |  | -5583 |  | -5583 | 0 | 0
11 | 0.35494 |  |  | -1211 |  | -1211 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0
19 | 0.34293 |  |  | -1170 |  | -1170 | 0 | 0
20 | 0.69113 |  |  | -2358 |  | -2358 | 0 | 0
21 | 0.99302 |  |  | -3388 |  | -3388 | 0 | 0
22 | 1.219 |  |  | -4159 |  | -4159 | 0 | 0
23 | 1.3969 |  |  | -4766 |  | -4766 | 0 | 0
24 | 1.5877 |  |  | -5417 |  | -5417 | 0 | 0
= | = | = | =
FREE-FLOAT CASES
HOURLY ANNUAL ZONE TEMPERATURE BIN DATA
CASE 900FF |  |  | Imported from 900FF-22.BND (or 900FF-eQ.BND)
(USE COLUMN B ONLY) |  |  | 900FF-22.BND (or 900FF-eQ.BND) from 900FF-22.T (or 900FF-eQ.T) using TMPBIN.EXE
PROGRAM: |  |  | 900FF-22.T (or 900FF-eQ.T) from 900FF-22.SIT (or 900FF-eQ.SIT) using TMPOUT22.BAS (run in GWBASIC.EXE) for DOE-2.2 or TMPOUTeQ.BAS for eQUEST
VERSION: |  |  |  | For eQUEST TMPOUTeQ.BAS must be run in same directory as 900ff-eQ.SIT (recommend project subfolder); for 2.2 do everything in c:\DOE22
TEMP (C) | # HOURS |  | 900FF-22.SIT (or 900FF-eQ.SIT) is 900FF-22.SIM (or 900FF-eQ.SIM) with beginning non-hourly data deleted manually.
= | = | = | =
-50 | 0 |  | -50 | 0
-49 | 0 |  | -49 | 0
-48 | 0 |  | -48 | 0
-47 | 0 |  | -47 | 0
-46 | 0 |  | -46 | 0
-45 | 0 |  | -45 | 0
-44 | 0 |  | -44 | 0
-43 | 0 |  | -43 | 0
-42 | 0 |  | -42 | 0
-41 | 0 |  | -41 | 0
-40 | 0 |  | -40 | 0
-39 | 0 |  | -39 | 0
-38 | 0 |  | -38 | 0
-37 | 0 |  | -37 | 0
-36 | 0 |  | -36 | 0
-35 | 0 |  | -35 | 0
-34 | 0 |  | -34 | 0
-33 | 0 |  | -33 | 0
-32 | 0 |  | -32 | 0
-31 | 0 |  | -31 | 0
-30 | 0 |  | -30 | 0
-29 | 0 |  | -29 | 0
-28 | 0 |  | -28 | 0
-27 | 0 |  | -27 | 0
-26 | 0 |  | -26 | 0
-25 | 0 |  | -25 | 0
-24 | 0 |  | -24 | 0
-23 | 0 |  | -23 | 0
-22 | 0 |  | -22 | 0
-21 | 0 |  | -21 | 0
-20 | 0 |  | -20 | 0
-19 | 0 |  | -19 | 0
-18 | 0 |  | -18 | 0
-17 | 0 |  | -17 | 0
-16 | 0 |  | -16 | 0
-15 | 0 |  | -15 | 0
-14 | 0 |  | -14 | 0
-13 | 0 |  | -13 | 0
-12 | 0 |  | -12 | 0
-11 | 0 |  | -11 | 0
-10 | 0 |  | -10 | 0
-9 | 0 |  | -9 | 0
-8 | 0 |  | -8 | 0
-7 | 0 |  | -7 | 0
-6 | 0 |  | -6 | 0
-5 | 0 |  | -5 | 0
-4 | 0 |  | -4 | 0
-3 | 0 |  | -3 | 0
-2 | 0 |  | -2 | 0
-1 | 3 |  | -1 | 3
0 | 7 |  | 0 | 7
1 | 5 |  | 1 | 5
2 | 9 |  | 2 | 9
3 | 18 |  | 3 | 18
4 | 13 |  | 4 | 13
5 | 23 |  | 5 | 23
6 | 18 |  | 6 | 18
7 | 20 |  | 7 | 20
8 | 28 |  | 8 | 28
9 | 34 |  | 9 | 34
10 | 37 |  | 10 | 37
11 | 51 |  | 11 | 51
12 | 70 |  | 12 | 70
13 | 79 |  | 13 | 79
14 | 114 |  | 14 | 114
15 | 136 |  | 15 | 136
16 | 157 |  | 16 | 157
17 | 169 |  | 17 | 169
18 | 203 |  | 18 | 203
19 | 274 |  | 19 | 274
20 | 297 |  | 20 | 297
21 | 368 |  | 21 | 368
22 | 325 |  | 22 | 325
23 | 388 |  | 23 | 388
24 | 423 |  | 24 | 423
25 | 374 |  | 25 | 374
26 | 420 |  | 26 | 420
27 | 413 |  | 27 | 413
28 | 444 |  | 28 | 444
29 | 450 |  | 29 | 450
30 | 440 |  | 30 | 440
31 | 452 |  | 31 | 452
32 | 420 |  | 32 | 420
33 | 375 |  | 33 | 375
34 | 343 |  | 34 | 343
35 | 320 |  | 35 | 320
36 | 276 |  | 36 | 276
37 | 190 |  | 37 | 190
38 | 184 |  | 38 | 184
39 | 139 |  | 39 | 139
40 | 104 |  | 40 | 104
41 | 76 |  | 41 | 76
42 | 44 |  | 42 | 44
43 | 18 |  | 43 | 18
44 | 8 |  | 44 | 8
45 | 1 |  | 45 | 1
46 | 0 |  | 46 | 0
47 | 0 |  | 47 | 0
48 | 0 |  | 48 | 0
49 | 0 |  | 49 | 0
50 | 0 |  | 50 | 0
51 | 0 |  | 51 | 0
52 | 0 |  | 52 | 0
53 | 0 |  | 53 | 0
54 | 0 |  | 54 | 0
55 | 0 |  | 55 | 0
56 | 0 |  | 56 | 0
57 | 0 |  | 57 | 0
58 | 0 |  | 58 | 0
59 | 0 |  | 59 | 0
60 | 0 |  | 60 | 0
61 | 0 |  | 61 | 0
62 | 0 |  | 62 | 0
63 | 0 |  | 63 | 0
64 | 0 |  | 64 | 0
65 | 0 |  | 65 | 0
66 | 0 |  | 66 | 0
67 | 0 |  | 67 | 0
68 | 0 |  | 68 | 0
69 | 0 |  | 69 | 0
70 | 0 |  | 70 | 0
71 | 0 |  | 71 | 0
72 | 0 |  | 72 | 0
73 | 0 |  | 73 | 0
74 | 0 |  | 74 | 0
75 | 0 |  | 75 | 0
76 | 0 |  | 76 | 0
77 | 0 |  | 77 | 0
78 | 0 |  | 78 | 0
79 | 0 |  | 79 | 0
80 | 0 |  | 80 | 0
81 | 0 |  | 81 | 0
82 | 0 |  | 82 | 0
83 | 0 |  | 83 | 0
84 | 0 |  | 84 | 0
85 | 0 |  | 85 | 0
86 | 0 |  | 86 | 0
87 | 0 |  | 87 | 0
88 | 0 |  | 88 | 0
89 | 0 |  | 89 | 0
90 | 0 |  | 90 | 0
91 | 0 |  | 91 | 0
92 | 0 |  | 92 | 0
93 | 0 |  | 93 | 0
94 | 0 |  | 94 | 0
95 | 0 |  | 95 | 0
96 | 0 |  | 96 | 0
97 | 0 |  | 97 | 0
98 | 0 |  | 98 | 0
= | = | = | =
= | = | = | =
= | = | = | =
= | = | = | =